## Page 1
Data file: |  | C:\Users\Public\Documents\ChemStation\1\Data\EC\EC-21-013-DOE5678 2021- 03-01 09-28-52\R5 BLANK1 09-28-55.D
Sample name: |  | R5 BLANK
Description:
Sample amount: |  | 0 | Sample type: |  | Blank
Instrument: |  | Arwen | Location: |  | P1-D1
Injection date: |  | 3/1/2021 9:36:36 AM | Injection: |  | 1 of 1
Acq. method: |  | CiproRelSub278.M | Injection volume: |  | 5.000
Analysis method: |  | CiproRelSub278.M | Acq. operator: |  | SYSTEM
Last changed: |  | 2/26/2021 3:26:45 PM
Column name:
Serial #:
Diameter:
| Length: |  |  | # Injections:

## Page 2
| Signal: | [5 empty] | DAD1 D, Sig=278,4 Ref=off
| RT [min] |  | Expected |  |  | Compound |  |  |  | Amount [mg/mL]
| 7.752 |  | 7.874 |  |  | CIPRO |  |  |  | 0.208821179124608
| 26.936 |  | 26.717 |  |  | R2/R3 |  |  |  | 0.000193312895181995
Signal: | [6 empty] | DAD1 D, Sig=278,4 Ref=off
Peak Retention Time |  | RRT (ISTD) |  |  | Peak Area Percent |  |  |  | Area |  | Height | Compound | Compound Amount | Units
7.752 |  | 0.288 |  |  | 21.24 |  |  |  | 1.9623 |  | 0.1310 | CIPRO | 0.2088 | mg/mL
8.486 |  | 0.315 |  |  | 27.37 |  |  |  | 2.5290 |  | 0.2675 |  | 0 | mg/mL
26.936 |  | 1.00 |  |  | 7.39 |  |  |  | 0.68266 |  | 0.07148 | R2/R3 | 0.0001933 | mg/mL
29.928 |  | 1.11 |  |  | 44.01 |  |  |  | 4.0666 |  | 0.4274 |  | 0 | mg/mL
| Calibration Update: | [6 empty] | 2/16/2021 1:36:50 PM
| Compound: |  |  | CIPRO
| Signal: |  |  | DAD1D
| Exp. RT: |  |  | 7.874
| Corr. Coeff.: |  |  | 1
| Residual: |  |  | 0
RF RSD%:
| Formula: |  |  | y = ax + b
| a: |  |  | 9.3969
| b: |  |  | 0
| Compound: |  |  | R2/R3
| Signal: |  |  | DAD1D
| Exp. RT: |  |  | 26.717
| Corr. Coeff.: |  |  | 1
| Residual: |  |  | 0
RF RSD%:
| Formula: |  |  | y = ax + b
| a: |  |  | 3531.3627
| b: |  |  | 0