## Page 1
LC Analysis Report
| Data file: |  | C:\Users\Public\Documents\ChemStation\1\Data\LT\LT-21-027-REAL 2021-05-05 14-34-28\001-21-CIP BLANK.D
| Sample name: |  | CIP BLANK
Description:
| Sample amount: |  | 0 | Sample type: |  | Blank
| Instrument: |  | Beyonce | Location: |  | 21
| Injection date: |  | 5/5/2021 2:35:40 PM | Injection: |  | 1 of 1
| Acq. method: |  | CiproRelSub278.M | Injection volume: |  | 5.000
| Analysis method: |  | CiproRelSub278.M | Acq. operator: |  | SYSTEM
| Last changed: |  | 5/3/2021 8:39:09 AM
N/A
Column name:
Serial #:
Diameter:
|  | Length: |  |  | # Injections:

## Page 2
LC Analysis Report
| Signal: | [5 empty] | DAD1 D, Sig=278,4 Ref=off
| RT [min] |  | Expected |  |  | Compound |  |  |  | Amount [mg/mL]
| 8.114 |  | 7.842 |  |  | CIPRO |  |  |  | 0.131265372218861
Signal: | [6 empty] | DAD1 D, Sig=278,4 Ref=off
Peak Retention Time |  | RRT (ISTD) |  |  | Peak Area Percent |  |  |  | Area |  | Height | Compound | Compound Amount | Units
|  | 0 | [6 empty] | 0 |  | 0 | R2/R3 | 0 | mg/mL
2.483 |  | 0.306 |  |  | 38.17 |  |  |  | 7.6096 |  | 1.727 |  | 0 | mg/mL
8.114 |  | 1.00 |  |  | 8.35 |  |  |  | 1.6655 |  | 0.2970 | CIPRO | 0.1313 | mg/mL
23.303 |  | 2.87 |  |  | 37.88 |  |  |  | 7.5527 |  | 1.023 |  | 0 | mg/mL
29.878 |  | 3.68 |  |  | 15.6 |  |  |  | 3.1092 |  | 0.3135 |  | 0 | mg/mL
| Calibration Update: | [6 empty] | 5/6/2021 3:13:18 PM
| Compound: |  |  | CIPRO
| Signal: |  |  | DAD1D
| Exp. RT: |  |  | 7.842
| Corr. Coeff.: |  |  | 1
| Residual: |  |  | 0
RF RSD%:
| Formula: |  |  | y = ax + b
| a: |  |  | 12.688
| b: |  |  | 0

## Page 3
LC Analysis Report
| Data file: |  | C:\Users\Public\Documents\ChemStation\1\Data\LT\LT-21-027-REAL 2021-05-05 14-34-28\002-25-LT-21-027-CIP-WET-CAKE-B.D
| Sample name: |  | LT-21-027-CIP-WET-CAKE-B
Description:
| Sample amount: |  | 0 | Sample type: |  | Sample
| Instrument: |  | Beyonce | Location: |  | 25
| Injection date: |  | 5/5/2021 3:16:42 PM | Injection: |  | 1 of 1
| Acq. method: |  | CiproRelSub278.M | Injection volume: |  | 5.000
| Analysis method: |  | CiproRelSub278.M | Acq. operator: |  | SYSTEM
| Last changed: |  | 5/3/2021 8:39:09 AM
N/A
Column name:
Serial #:
Diameter:
|  | Length: |  |  | # Injections:

## Page 4
LC Analysis Report
| Signal: | [5 empty] | DAD1 D, Sig=278,4 Ref=off
| RT [min] |  | Expected |  |  | Compound |  |  |  | Amount [mg/mL]
| 8.108 |  | 7.842 |  |  | CIPRO |  |  |  | 212.435346947584
Signal: | [6 empty] | DAD1 D, Sig=278,4 Ref=off
Peak Retention Time |  | RRT (ISTD) |  |  | Peak Area Percent |  |  |  | Area |  | Height | Compound | Compound Amount | Units
|  | 0 | [6 empty] | 0 |  | 0 | R2/R3 | 0 | mg/mL
4.314 |  | 0.532 |  |  | 0.04 |  |  |  | 1.0500 |  | 0.2392 |  | 0 | mg/mL
5.886 |  | 0.726 |  |  | 0.08 |  |  |  | 2.3200 |  | 0.4168 |  | 0 | mg/mL
7.634 |  | 0.942 |  |  | 0.01 |  |  |  | 0.38606 |  | 0.07220 |  | 0 | mg/mL
8.108 |  | 1.00 |  |  | 98.71 |  |  |  | 2695.4 |  | 461.1 | CIPRO | 212.4 | mg/mL
8.637 |  | 1.07 |  |  | 0.04 |  |  |  | 1.0520 |  | 0.1273 |  | 0 | mg/mL
9.179 |  | 1.13 |  |  | 0.05 |  |  |  | 1.2800 |  | 0.1665 |  | 0 | mg/mL
9.641 |  | 1.19 |  |  | 0.02 |  |  |  | 0.65530 |  | 0.07294 |  | 0 | mg/mL
14.989 |  | 1.85 |  |  | 0.05 |  |  |  | 1.4624 |  | 0.1682 |  | 0 | mg/mL
15.443 |  | 1.90 |  |  | 0.07 |  |  |  | 1.9764 |  | 0.1727 |  | 0 | mg/mL
19.11 |  | 2.36 |  |  | 0.07 |  |  |  | 1.9443 |  | 0.2454 |  | 0 | mg/mL
22.087 |  | 2.72 |  |  | 0.04 |  |  |  | 1.2003 |  | 0.1680 |  | 0 | mg/mL
22.478 |  | 2.77 |  |  | 0.05 |  |  |  | 1.3842 |  | 0.1883 |  | 0 | mg/mL
28.579 |  | 3.52 |  |  | 0.76 |  |  |  | 20.624 |  | 2.126 |  | 0 | mg/mL
| Calibration Update: | [6 empty] | 5/6/2021 3:13:18 PM
| Compound: |  |  | CIPRO
| Signal: |  |  | DAD1D
| Exp. RT: |  |  | 7.842
| Corr. Coeff.: |  |  | 1
| Residual: |  |  | 0
RF RSD%:
| Formula: |  |  | y = ax + b
| a: |  |  | 12.688
| b: |  |  | 0

## Page 5
LC Analysis Report
| Data file: |  | C:\Users\Public\Documents\ChemStation\1\Data\LT\LT-21-027-REAL 2021-05-05 14-34-28\003-3-NTR-21-006-S1.D
| Sample name: |  | NTR-21-006-S1
Description:
| Sample amount: |  | 0 | Sample type: |  | Calibration
| Instrument: |  | Beyonce | Location: |  | 3
| Injection date: |  | 5/5/2021 3:57:39 PM | Injection: |  | 1 of 1
| Acq. method: |  | CiproRelSub278.M | Injection volume: |  | 5.000
| Analysis method: |  | CiproRelSub278.M | Acq. operator: |  | SYSTEM
| Last changed: |  | 5/3/2021 8:39:09 AM
N/A
Column name:
Serial #:
Diameter:
|  | Length: |  |  | # Injections:

## Page 6
LC Analysis Report
| Signal: |  |  |  |  | DAD1 D, Sig=278,4 Ref=off
| RT [min] |  | Expected |  | Compound |  |  | Amount [mg/mL]
| 7.842 |  | 7.842 |  | CIPRO |  |  | 0.202
Signal: | [5 empty] | DAD1 D, Sig=278,4 Ref=off
Peak Retention Time |  | RRT (ISTD) |  | Peak Area Percent |  |  | Area |  | Height | Compound | Compound Amount | Units
|  | 0 |  |  |  |  | 0 |  | 0 | R2/R3 | 0 | mg/mL
5.888 |  | 0.751 |  | 0.07 |  |  | 3.4541 |  | 0.6658 |  | 0 | mg/mL
7.152 |  | 0.912 |  | 0.26 |  |  | 13.088 |  | 1.665 |  | 0 | mg/mL
7.842 |  | 1.00 |  | 0.05 |  |  | 2.5630 |  | 0.4003 | CIPRO | 0.2020 | mg/mL
8.098 |  | 1.03 |  | 99.51 |  |  | 5046.9 |  | 849.3 |  | 0 | mg/mL
10.574 |  | 1.35 |  | 0.05 |  |  | 2.4463 |  | 0.3939 |  | 0 | mg/mL
14.292 |  | 1.82 |  | 0.02 |  |  | 1.2511 |  | 0.1762 |  | 0 | mg/mL
17.288 |  | 2.20 |  | 0.04 |  |  | 1.8978 |  | 0.2866 |  | 0 | mg/mL