## Page 1
Data file: |  | C:\Users\Public\Documents\ChemStation\1\Data\EC\EC-21-013-DOE9101112 2021-03-03 21-34-38\R5 BLANK1 21-34-40.D
Sample name: |  | R5 BLANK
Description:
Sample amount: |  | 0 | Sample type: |  | Blank
Instrument: |  | Arwen | Location: |  | P2-B1
Injection date: |  | 3/3/2021 9:35:49 PM | Injection: |  | 1 of 1
Acq. method: |  | CiproRelSub278.M | Injection volume: |  | 5.000
Analysis method: |  | CiproRelSub278.M | Acq. operator: |  | SYSTEM
Last changed: |  | 2/26/2021 3:26:45 PM
Column name:
Serial #:
Diameter:
| Length: |  |  | # Injections:

## Page 2
| Signal: | [5 empty] | DAD1 D, Sig=278,4 Ref=off
| RT [min] |  | Expected |  |  | Compound |  |  |  | Amount [mg/mL]
| 8.076 |  | 7.874 |  |  | CIPRO |  |  |  | 0.119809134841108
Signal: | [6 empty] | DAD1 D, Sig=278,4 Ref=off
Peak Retention Time |  | RRT (ISTD) |  |  | Peak Area Percent |  |  |  | Area |  | Height | Compound | Compound Amount | Units
|  | 0 | [6 empty] | 0 |  | 0 | R2/R3 | 0 | mg/mL
8.076 |  | 1.00 |  |  | 31.57 |  |  |  | 1.1258 |  | 0.1858 | CIPRO | 0.1198 | mg/mL
29.935 |  | 3.71 |  |  | 68.43 |  |  |  | 2.4400 |  | 0.2283 |  | 0 | mg/mL
| Calibration Update: | [6 empty] | 2/16/2021 1:36:50 PM
| Compound: |  |  | CIPRO
| Signal: |  |  | DAD1D
| Exp. RT: |  |  | 7.874
| Corr. Coeff.: |  |  | 1
| Residual: |  |  | 0
RF RSD%:
| Formula: |  |  | y = ax + b
| a: |  |  | 9.3969
| b: |  |  | 0

## Page 3
Data file: |  | C:\Users\Public\Documents\ChemStation\1\Data\EC\EC-21-013-DOE9101112 2021-03-03 21-34-38\AVF-21-013-CIP11 22-16-04.D
Sample name: |  | AVF-21-013-CIP1
Description:
Sample amount: |  | 0 | Sample type: |  | Calibration
Instrument: |  | Arwen | Location: |  | P1-A5
Injection date: |  | 3/3/2021 10:16:51 PM | Injection: |  | 1 of 1
Acq. method: |  | CiproRelSub278.M | Injection volume: |  | 5.000
Analysis method: |  | CiproRelSub278.M | Acq. operator: |  | SYSTEM
Last changed: |  | 2/26/2021 3:26:45 PM
Column name:
Serial #:
Diameter:
| Length: |  |  | # Injections:

## Page 4
| Signal: |  |  |  |  | DAD1 D, Sig=278,4 Ref=off
| RT [min] |  | Expected |  | Compound |  |  | Amount [mg/mL]
| 8.057 |  | 8.057 |  | CIPRO |  |  | 0.208
Signal: | [5 empty] | DAD1 D, Sig=278,4 Ref=off
Peak Retention Time |  | RRT (ISTD) |  | Peak Area Percent |  |  | Area |  | Height | Compound | Compound Amount | Units
|  | 0 |  |  |  |  | 0 |  | 0 | R2/R3 | 0 | mg/mL
5.835 |  | 0.724 |  | 0.07 |  |  | 3.2938 |  | 0.5944 |  | 0 | mg/mL
7.105 |  | 0.882 |  | 0.35 |  |  | 16.409 |  | 1.824 |  | 0 | mg/mL
8.057 |  | 1.00 |  | 99.49 |  |  | 4622.3 |  | 749.3 | CIPRO | 0.2080 | mg/mL
14.255 |  | 1.77 |  | 0.02 |  |  | 1.1020 |  | 0.1413 |  | 0 | mg/mL
29.933 |  | 3.72 |  | 0.06 |  |  | 2.8051 |  | 0.2869 |  | 0 | mg/mL

## Page 5
Data file: |  | C:\Users\Public\Documents\ChemStation\1\Data\EC\EC-21-013-DOE9101112 2021-03-03 21-34-38\EC-21-014-DOE9-R4-T51 22-57-06.D
Sample name: |  | EC-21-014-DOE9-R4-T5
Description:
Sample amount: |  | 0 | Sample type: |  | Sample
Instrument: |  | Arwen | Location: |  | P2-B2
Injection date: |  | 3/3/2021 10:57:52 PM | Injection: |  | 1 of 1
Acq. method: |  | CiproRelSub278.M | Injection volume: |  | 5.000
Analysis method: |  | CiproRelSub278.M | Acq. operator: |  | SYSTEM
Last changed: |  | 2/26/2021 3:26:45 PM
Column name:
Serial #:
Diameter:
| Length: |  |  | # Injections:

## Page 6
| Signal: | [5 empty] | DAD1 D, Sig=278,4 Ref=off
| RT [min] |  | Expected |  |  | Compound |  |  |  | Amount [mg/mL]
| 8.076 |  | 8.057 |  |  | CIPRO |  |  |  | 0.00105354200168361
| 26.746 |  | 26.717 |  |  | R2/R3 |  |  |  | 0.000180726483997495
Signal: | [6 empty] | DAD1 D, Sig=278,4 Ref=off
Peak Retention Time |  | RRT (ISTD) |  |  | Peak Area Percent |  |  |  | Area |  | Height | Compound | Compound Amount | Units
2.386 |  | 0.0892 |  |  | 0.48 |  |  |  | 1.6215 |  | 0.5008 |  | 0 | mg/mL
7.048 |  | 0.264 |  |  | 0.2 |  |  |  | 0.67528 |  | 0.1200 |  | 0 | mg/mL
8.076 |  | 0.302 |  |  | 6.94 |  |  |  | 23.413 |  | 3.844 | CIPRO | 0.001054 | mg/mL
14.353 |  | 0.537 |  |  | 1.45 |  |  |  | 4.8919 |  | 0.5958 |  | 0 | mg/mL
14.818 |  | 0.554 |  |  | 0.12 |  |  |  | 0.41173 |  | 0.05357 |  | 0 | mg/mL
15.398 |  | 0.576 |  |  | 17.65 |  |  |  | 59.571 |  | 7.510 |  | 0 | mg/mL
16.9 |  | 0.632 |  |  | 0.96 |  |  |  | 3.2257 |  | 0.3708 |  | 0 | mg/mL
19.061 |  | 0.713 |  |  | 52.86 |  |  |  | 178.36 |  | 22.18 |  | 0 | mg/mL
20.522 |  | 0.767 |  |  | 2.73 |  |  |  | 9.2254 |  | 1.041 |  | 0 | mg/mL
22.134 |  | 0.828 |  |  | 0.45 |  |  |  | 1.5090 |  | 0.1350 |  | 0 | mg/mL
22.526 |  | 0.842 |  |  | 15.04 |  |  |  | 50.761 |  | 6.529 |  | 0 | mg/mL
26.746 |  | 1.00 |  |  | 0.19 |  |  |  | 0.63821 |  | 0.09213 | R2/R3 | 0.0001807 | mg/mL
29.109 |  | 1.09 |  |  | 0.11 |  |  |  | 0.36307 |  | 0.05493 |  | 0 | mg/mL
29.932 |  | 1.12 |  |  | 0.82 |  |  |  | 2.7577 |  | 0.2731 |  | 0 | mg/mL
| Calibration Update: | [6 empty] | 3/3/2021 10:57:02 PM
| Compound: |  |  | CIPRO
| Signal: |  |  | DAD1D
| Exp. RT: |  |  | 8.057
| Corr. Coeff.: |  |  | 1
| Residual: |  |  | 0
RF RSD%:
| Formula: |  |  | y = ax + b
| a: |  |  | 22222.8088
| b: |  |  | 0
| Compound: |  |  | R2/R3
| Signal: |  |  | DAD1D
| Exp. RT: |  |  | 26.717
| Corr. Coeff.: |  |  | 1
| Residual: |  |  | 0
RF RSD%:
| Formula: |  |  | y = ax + b
| a: |  |  | 3531.3627
| b: |  |  | 0

## Page 7
Data file: |  | C:\Users\Public\Documents\ChemStation\1\Data\EC\EC-21-013-DOE9101112 2021-03-03 21-34-38\EC-21-014-DOE9-R4-T151 23-38-07.D
Sample name: |  | EC-21-014-DOE9-R4-T15
Description:
Sample amount: |  | 0 | Sample type: |  | Sample
Instrument: |  | Arwen | Location: |  | P2-B3
Injection date: |  | 3/3/2021 11:38:53 PM | Injection: |  | 1 of 1
Acq. method: |  | CiproRelSub278.M | Injection volume: |  | 5.000
Analysis method: |  | CiproRelSub278.M | Acq. operator: |  | SYSTEM
Last changed: |  | 2/26/2021 3:26:45 PM
Column name:
Serial #:
Diameter:
| Length: |  |  | # Injections:

## Page 8
| Signal: | [5 empty] | DAD1 D, Sig=278,4 Ref=off
| RT [min] |  | Expected |  |  | Compound |  |  |  | Amount [mg/mL]
| 8.074 |  | 8.057 |  |  | CIPRO |  |  |  | 0.00260763879829222
| 26.753 |  | 26.717 |  |  | R2/R3 |  |  |  | 0.000365750678014332
Signal: | [6 empty] | DAD1 D, Sig=278,4 Ref=off
Peak Retention Time |  | RRT (ISTD) |  |  | Peak Area Percent |  |  |  | Area |  | Height | Compound | Compound Amount | Units
2.387 |  | 0.0892 |  |  | 0.32 |  |  |  | 1.4578 |  | 0.4776 |  | 0 | mg/mL
7.05 |  | 0.264 |  |  | 0.17 |  |  |  | 0.78860 |  | 0.1164 |  | 0 | mg/mL
8.074 |  | 0.302 |  |  | 12.75 |  |  |  | 57.949 |  | 9.498 | CIPRO | 0.002608 | mg/mL
12.73 |  | 0.476 |  |  | 0.21 |  |  |  | 0.95282 |  | 0.1139 |  | 0 | mg/mL
14.35 |  | 0.536 |  |  | 1.19 |  |  |  | 5.3976 |  | 0.6537 |  | 0 | mg/mL
15.397 |  | 0.576 |  |  | 27.62 |  |  |  | 125.52 |  | 15.78 |  | 0 | mg/mL
15.781 |  | 0.590 |  |  | 0.26 |  |  |  | 1.1849 |  | 0.1220 |  | 0 | mg/mL
16.9 |  | 0.632 |  |  | 0.6 |  |  |  | 2.7315 |  | 0.2947 |  | 0 | mg/mL
18.252 |  | 0.682 |  |  | 0.11 |  |  |  | 0.48028 |  | 0.06005 |  | 0 | mg/mL
19.062 |  | 0.713 |  |  | 32.32 |  |  |  | 146.84 |  | 18.12 |  | 0 | mg/mL
20.522 |  | 0.767 |  |  | 1.15 |  |  |  | 5.2046 |  | 0.5142 |  | 0 | mg/mL
22.141 |  | 0.828 |  |  | 0.32 |  |  |  | 1.4629 |  | 0.1542 |  | 0 | mg/mL
22.528 |  | 0.842 |  |  | 21.79 |  |  |  | 99.008 |  | 12.68 |  | 0 | mg/mL
23.378 |  | 0.874 |  |  | 0.12 |  |  |  | 0.56332 |  | 0.07977 |  | 0 | mg/mL
26.753 |  | 1.00 |  |  | 0.28 |  |  |  | 1.2916 |  | 0.1284 | R2/R3 | 0.0003658 | mg/mL
29.109 |  | 1.09 |  |  | 0.2 |  |  |  | 0.89031 |  | 0.1220 |  | 0 | mg/mL
29.932 |  | 1.12 |  |  | 0.59 |  |  |  | 2.6770 |  | 0.2743 |  | 0 | mg/mL
| Calibration Update: | [6 empty] | 3/3/2021 10:57:02 PM
| Compound: |  |  | CIPRO
| Signal: |  |  | DAD1D
| Exp. RT: |  |  | 8.057
| Corr. Coeff.: |  |  | 1
| Residual: |  |  | 0
RF RSD%:
| Formula: |  |  | y = ax + b
| a: |  |  | 22222.8088
| b: |  |  | 0
| Compound: |  |  | R2/R3
| Signal: |  |  | DAD1D
| Exp. RT: |  |  | 26.717
| Corr. Coeff.: |  |  | 1
| Residual: |  |  | 0
RF RSD%:
| Formula: |  |  | y = ax + b
| a: |  |  | 3531.3627
| b: |  |  | 0

## Page 9
Data file: |  | C:\Users\Public\Documents\ChemStation\1\Data\EC\EC-21-013-DOE9101112 2021-03-03 21-34-38\EC-21-014-DOE9-R4-T301 00-19-08.D
Sample name: |  | EC-21-014-DOE9-R4-T30
Description:
Sample amount: |  | 0 | Sample type: |  | Sample
Instrument: |  | Arwen | Location: |  | P2-B4
Injection date: |  | 3/4/2021 12:19:54 AM | Injection: |  | 1 of 1
Acq. method: |  | CiproRelSub278.M | Injection volume: |  | 5.000
Analysis method: |  | CiproRelSub278.M | Acq. operator: |  | SYSTEM
Last changed: |  | 2/26/2021 3:26:45 PM
Column name:
Serial #:
Diameter:
| Length: |  |  | # Injections:

## Page 10
| Signal: | [5 empty] | DAD1 D, Sig=278,4 Ref=off
| RT [min] |  | Expected |  |  | Compound |  |  |  | Amount [mg/mL]
| 8.074 |  | 8.057 |  |  | CIPRO |  |  |  | 0.00442209869032693
| 26.747 |  | 26.717 |  |  | R2/R3 |  |  |  | 0.000191792685585435
Signal: | [6 empty] | DAD1 D, Sig=278,4 Ref=off
Peak Retention Time |  | RRT (ISTD) |  |  | Peak Area Percent |  |  |  | Area |  | Height | Compound | Compound Amount | Units
2.384 |  | 0.0891 |  |  | 0.3 |  |  |  | 1.6066 |  | 0.5059 |  | 0 | mg/mL
5.823 |  | 0.218 |  |  | 0.08 |  |  |  | 0.45685 |  | 0.09526 |  | 0 | mg/mL
7.047 |  | 0.263 |  |  | 0.16 |  |  |  | 0.87487 |  | 0.1425 |  | 0 | mg/mL
8.074 |  | 0.302 |  |  | 18.24 |  |  |  | 98.271 |  | 16.12 | CIPRO | 0.004422 | mg/mL
8.617 |  | 0.322 |  |  | 0.12 |  |  |  | 0.63271 |  | 0.1075 |  | 0 | mg/mL
9.778 |  | 0.366 |  |  | 0.08 |  |  |  | 0.44705 |  | 0.06777 |  | 0 | mg/mL
10.201 |  | 0.381 |  |  | 0.11 |  |  |  | 0.58874 |  | 0.07097 |  | 0 | mg/mL
12.727 |  | 0.476 |  |  | 0.23 |  |  |  | 1.2273 |  | 0.1579 |  | 0 | mg/mL
14.351 |  | 0.537 |  |  | 1.06 |  |  |  | 5.6857 |  | 0.6831 |  | 0 | mg/mL
15.398 |  | 0.576 |  |  | 29.37 |  |  |  | 158.19 |  | 19.80 |  | 0 | mg/mL
15.779 |  | 0.590 |  |  | 0.29 |  |  |  | 1.5885 |  | 0.1936 |  | 0 | mg/mL
16.901 |  | 0.632 |  |  | 0.48 |  |  |  | 2.5647 |  | 0.2667 |  | 0 | mg/mL
18.256 |  | 0.683 |  |  | 0.1 |  |  |  | 0.54957 |  | 0.07669 |  | 0 | mg/mL
19.061 |  | 0.713 |  |  | 24.26 |  |  |  | 130.68 |  | 16.06 |  | 0 | mg/mL
20.353 |  | 0.761 |  |  | 0.23 |  |  |  | 1.2445 |  | 0.1551 |  | 0 | mg/mL
20.519 |  | 0.767 |  |  | 0.32 |  |  |  | 1.7014 |  | 0.2035 |  | 0 | mg/mL
20.738 |  | 0.775 |  |  | 0.28 |  |  |  | 1.4898 |  | 0.1880 |  | 0 | mg/mL
22.14 |  | 0.828 |  |  | 0.22 |  |  |  | 1.1926 |  | 0.1605 |  | 0 | mg/mL
22.526 |  | 0.842 |  |  | 23.01 |  |  |  | 123.96 |  | 15.86 |  | 0 | mg/mL
23.374 |  | 0.874 |  |  | 0.15 |  |  |  | 0.82997 |  | 0.1142 |  | 0 | mg/mL
23.919 |  | 0.894 |  |  | 0.06 |  |  |  | 0.32857 |  | 0.05261 |  | 0 | mg/mL
26.747 |  | 1.00 |  |  | 0.13 |  |  |  | 0.67729 |  | 0.09879 | R2/R3 | 0.0001918 | mg/mL
29.104 |  | 1.09 |  |  | 0.21 |  |  |  | 1.1354 |  | 0.1541 |  | 0 | mg/mL
29.936 |  | 1.12 |  |  | 0.5 |  |  |  | 2.7201 |  | 0.2734 |  | 0 | mg/mL
| Calibration Update: | [6 empty] | 3/3/2021 10:57:02 PM
| Compound: |  |  | CIPRO
| Signal: |  |  | DAD1D
| Exp. RT: |  |  | 8.057
| Corr. Coeff.: |  |  | 1
| Residual: |  |  | 0
RF RSD%:
| Formula: |  |  | y = ax + b
| a: |  |  | 22222.8088
| b: |  |  | 0
| Compound: |  |  | R2/R3
| Signal: |  |  | DAD1D
| Exp. RT: |  |  | 26.717
| Corr. Coeff.: |  |  | 1
| Residual: |  |  | 0
RF RSD%:
| Formula: |  |  | y = ax + b
| a: |  |  | 3531.3627
| b: |  |  | 0

## Page 11
Data file: |  | C:\Users\Public\Documents\ChemStation\1\Data\EC\EC-21-013-DOE9101112 2021-03-03 21-34-38\EC-21-014-DOE9-R5-T21 01-00-08.D
Sample name: |  | EC-21-014-DOE9-R5-T2
Description:
Sample amount: |  | 0 | Sample type: |  | Sample
Instrument: |  | Arwen | Location: |  | P2-B5
Injection date: |  | 3/4/2021 1:00:54 AM | Injection: |  | 1 of 1
Acq. method: |  | CiproRelSub278.M | Injection volume: |  | 5.000
Analysis method: |  | CiproRelSub278.M | Acq. operator: |  | SYSTEM
Last changed: |  | 2/26/2021 3:26:45 PM
Column name:
Serial #:
Diameter:
| Length: |  |  | # Injections:

## Page 12
| Signal: | [5 empty] | DAD1 D, Sig=278,4 Ref=off
| RT [min] |  | Expected |  |  | Compound |  |  |  | Amount [mg/mL]
| 8.077 |  | 8.057 |  |  | CIPRO |  |  |  | 0.00401993931587194
| 26.741 |  | 26.717 |  |  | R2/R3 |  |  |  | 0.000320720154712328
Signal: | [6 empty] | DAD1 D, Sig=278,4 Ref=off
Peak Retention Time |  | RRT (ISTD) |  |  | Peak Area Percent |  |  |  | Area |  | Height | Compound | Compound Amount | Units
2.385 |  | 0.0892 |  |  | 0.31 |  |  |  | 1.4964 |  | 0.4870 |  | 0 | mg/mL
5.822 |  | 0.218 |  |  | 0.1 |  |  |  | 0.50657 |  | 0.09045 |  | 0 | mg/mL
7.054 |  | 0.264 |  |  | 0.22 |  |  |  | 1.0928 |  | 0.1534 |  | 0 | mg/mL
8.077 |  | 0.302 |  |  | 18.32 |  |  |  | 89.334 |  | 14.71 | CIPRO | 0.004020 | mg/mL
8.62 |  | 0.322 |  |  | 0.17 |  |  |  | 0.81306 |  | 0.1316 |  | 0 | mg/mL
10.208 |  | 0.382 |  |  | 0.13 |  |  |  | 0.64605 |  | 0.07709 |  | 0 | mg/mL
12.73 |  | 0.476 |  |  | 0.24 |  |  |  | 1.1863 |  | 0.1513 |  | 0 | mg/mL
14.353 |  | 0.537 |  |  | 1 |  |  |  | 4.8852 |  | 0.5750 |  | 0 | mg/mL
15.399 |  | 0.576 |  |  | 31.49 |  |  |  | 153.54 |  | 18.74 |  | 0 | mg/mL
15.778 |  | 0.590 |  |  | 0.3 |  |  |  | 1.4479 |  | 0.1775 |  | 0 | mg/mL
16.903 |  | 0.632 |  |  | 0.53 |  |  |  | 2.6014 |  | 0.2441 |  | 0 | mg/mL
18.26 |  | 0.683 |  |  | 0.11 |  |  |  | 0.53871 |  | 0.06705 |  | 0 | mg/mL
18.716 |  | 0.700 |  |  | 0.12 |  |  |  | 0.56555 |  | 0.07295 |  | 0 | mg/mL
19.063 |  | 0.713 |  |  | 21.33 |  |  |  | 104.02 |  | 12.77 |  | 0 | mg/mL
20.359 |  | 0.761 |  |  | 0.18 |  |  |  | 0.88893 |  | 0.1242 |  | 0 | mg/mL
20.522 |  | 0.767 |  |  | 0.25 |  |  |  | 1.2053 |  | 0.1560 |  | 0 | mg/mL
21.261 |  | 0.795 |  |  | 0.16 |  |  |  | 0.77944 |  | 0.08515 |  | 0 | mg/mL
22.146 |  | 0.828 |  |  | 0.23 |  |  |  | 1.1176 |  | 0.1440 |  | 0 | mg/mL
22.528 |  | 0.842 |  |  | 23.56 |  |  |  | 114.88 |  | 14.75 |  | 0 | mg/mL
23.376 |  | 0.874 |  |  | 0.16 |  |  |  | 0.79721 |  | 0.1033 |  | 0 | mg/mL
23.93 |  | 0.895 |  |  | 0.08 |  |  |  | 0.38296 |  | 0.04970 |  | 0 | mg/mL
26.741 |  | 1.00 |  |  | 0.23 |  |  |  | 1.1326 |  | 0.1158 | R2/R3 | 0.0003207 | mg/mL
29.11 |  | 1.09 |  |  | 0.21 |  |  |  | 1.0094 |  | 0.1313 |  | 0 | mg/mL
29.936 |  | 1.12 |  |  | 0.56 |  |  |  | 2.7409 |  | 0.2738 |  | 0 | mg/mL
| Calibration Update: | [6 empty] | 3/3/2021 10:57:02 PM
| Compound: |  |  | CIPRO
| Signal: |  |  | DAD1D
| Exp. RT: |  |  | 8.057
| Corr. Coeff.: |  |  | 1
| Residual: |  |  | 0
RF RSD%:
| Formula: |  |  | y = ax + b
| a: |  |  | 22222.8088
| b: |  |  | 0
| Compound: |  |  | R2/R3
| Signal: |  |  | DAD1D
| Exp. RT: |  |  | 26.717
| Corr. Coeff.: |  |  | 1
| Residual: |  |  | 0
RF RSD%:
| Formula: |  |  | y = ax + b
| a: |  |  | 3531.3627
| b: |  |  | 0

## Page 13
Data file: |  | C:\Users\Public\Documents\ChemStation\1\Data\EC\EC-21-013-DOE9101112 2021-03-03 21-34-38\EC-21-014-DOE9-R5-T41 01-41-10.D
Sample name: |  | EC-21-014-DOE9-R5-T4
Description:
Sample amount: |  | 0 | Sample type: |  | Sample
Instrument: |  | Arwen | Location: |  | P2-B6
Injection date: |  | 3/4/2021 1:41:56 AM | Injection: |  | 1 of 1
Acq. method: |  | CiproRelSub278.M | Injection volume: |  | 5.000
Analysis method: |  | CiproRelSub278.M | Acq. operator: |  | SYSTEM
Last changed: |  | 2/26/2021 3:26:45 PM
Column name:
Serial #:
Diameter:
| Length: |  |  | # Injections:

## Page 14
| Signal: | [5 empty] | DAD1 D, Sig=278,4 Ref=off
| RT [min] |  | Expected |  |  | Compound |  |  |  | Amount [mg/mL]
| 8.077 |  | 8.057 |  |  | CIPRO |  |  |  | 0.00391503329456177
| 26.745 |  | 26.717 |  |  | R2/R3 |  |  |  | 0.000173265089985652
Signal: | [6 empty] | DAD1 D, Sig=278,4 Ref=off
Peak Retention Time |  | RRT (ISTD) |  |  | Peak Area Percent |  |  |  | Area |  | Height | Compound | Compound Amount | Units
2.385 |  | 0.0892 |  |  | 0.33 |  |  |  | 1.5827 |  | 0.4945 |  | 0 | mg/mL
5.827 |  | 0.218 |  |  | 0.08 |  |  |  | 0.40026 |  | 0.07443 |  | 0 | mg/mL
7.052 |  | 0.264 |  |  | 0.22 |  |  |  | 1.0262 |  | 0.1343 |  | 0 | mg/mL
8.077 |  | 0.302 |  |  | 18.35 |  |  |  | 87.003 |  | 14.23 | CIPRO | 0.003915 | mg/mL
8.623 |  | 0.322 |  |  | 0.24 |  |  |  | 1.1334 |  | 0.1809 |  | 0 | mg/mL
9.769 |  | 0.365 |  |  | 0.16 |  |  |  | 0.73844 |  | 0.1029 |  | 0 | mg/mL
10.208 |  | 0.382 |  |  | 0.15 |  |  |  | 0.72870 |  | 0.07439 |  | 0 | mg/mL
12.73 |  | 0.476 |  |  | 0.26 |  |  |  | 1.2305 |  | 0.1601 |  | 0 | mg/mL
14.353 |  | 0.537 |  |  | 0.96 |  |  |  | 4.5365 |  | 0.5506 |  | 0 | mg/mL
15.401 |  | 0.576 |  |  | 33.58 |  |  |  | 159.25 |  | 19.71 |  | 0 | mg/mL
15.78 |  | 0.590 |  |  | 0.36 |  |  |  | 1.7300 |  | 0.1971 |  | 0 | mg/mL
16.903 |  | 0.632 |  |  | 0.51 |  |  |  | 2.4005 |  | 0.2353 |  | 0 | mg/mL
18.258 |  | 0.683 |  |  | 0.1 |  |  |  | 0.46876 |  | 0.06197 |  | 0 | mg/mL
19.064 |  | 0.713 |  |  | 18.39 |  |  |  | 87.226 |  | 10.57 |  | 0 | mg/mL
20.359 |  | 0.761 |  |  | 0.23 |  |  |  | 1.1057 |  | 0.1349 |  | 0 | mg/mL
20.521 |  | 0.767 |  |  | 0.27 |  |  |  | 1.2735 |  | 0.1527 |  | 0 | mg/mL
20.741 |  | 0.775 |  |  | 0.37 |  |  |  | 1.7778 |  | 0.2103 |  | 0 | mg/mL
21.259 |  | 0.795 |  |  | 0.17 |  |  |  | 0.82062 |  | 0.09229 |  | 0 | mg/mL
22.146 |  | 0.828 |  |  | 0.22 |  |  |  | 1.0381 |  | 0.1335 |  | 0 | mg/mL
22.53 |  | 0.842 |  |  | 24.05 |  |  |  | 114.04 |  | 14.60 |  | 0 | mg/mL
23.374 |  | 0.874 |  |  | 0.14 |  |  |  | 0.67060 |  | 0.08847 |  | 0 | mg/mL
26.745 |  | 1.00 |  |  | 0.13 |  |  |  | 0.61186 |  | 0.07853 | R2/R3 | 0.0001733 | mg/mL
29.111 |  | 1.09 |  |  | 0.18 |  |  |  | 0.86697 |  | 0.1112 |  | 0 | mg/mL
29.938 |  | 1.12 |  |  | 0.54 |  |  |  | 2.5589 |  | 0.2698 |  | 0 | mg/mL
| Calibration Update: | [6 empty] | 3/3/2021 10:57:02 PM
| Compound: |  |  | CIPRO
| Signal: |  |  | DAD1D
| Exp. RT: |  |  | 8.057
| Corr. Coeff.: |  |  | 1
| Residual: |  |  | 0
RF RSD%:
| Formula: |  |  | y = ax + b
| a: |  |  | 22222.8088
| b: |  |  | 0
| Compound: |  |  | R2/R3
| Signal: |  |  | DAD1D
| Exp. RT: |  |  | 26.717
| Corr. Coeff.: |  |  | 1
| Residual: |  |  | 0
RF RSD%:
| Formula: |  |  | y = ax + b
| a: |  |  | 3531.3627
| b: |  |  | 0

## Page 15
Data file: |  | C:\Users\Public\Documents\ChemStation\1\Data\EC\EC-21-013-DOE9101112 2021-03-03 21-34-38\EC-21-014-DOE9-R5-T61 02-22-10.D
Sample name: |  | EC-21-014-DOE9-R5-T6
Description:
Sample amount: |  | 0 | Sample type: |  | Sample
Instrument: |  | Arwen | Location: |  | P2-B7
Injection date: |  | 3/4/2021 2:22:57 AM | Injection: |  | 1 of 1
Acq. method: |  | CiproRelSub278.M | Injection volume: |  | 5.000
Analysis method: |  | CiproRelSub278.M | Acq. operator: |  | SYSTEM
Last changed: |  | 2/26/2021 3:26:45 PM
Column name:
Serial #:
Diameter:
| Length: |  |  | # Injections:

## Page 16
| Signal: | [5 empty] | DAD1 D, Sig=278,4 Ref=off
| RT [min] |  | Expected |  |  | Compound |  |  |  | Amount [mg/mL]
| 8.076 |  | 8.057 |  |  | CIPRO |  |  |  | 0.00414274090665026
| 26.752 |  | 26.717 |  |  | R2/R3 |  |  |  | 0.000276004266371957
Signal: | [6 empty] | DAD1 D, Sig=278,4 Ref=off
Peak Retention Time |  | RRT (ISTD) |  |  | Peak Area Percent |  |  |  | Area |  | Height | Compound | Compound Amount | Units
2.385 |  | 0.0892 |  |  | 0.31 |  |  |  | 1.5652 |  | 0.4908 |  | 0 | mg/mL
5.823 |  | 0.218 |  |  | 0.11 |  |  |  | 0.56751 |  | 0.08931 |  | 0 | mg/mL
7.052 |  | 0.264 |  |  | 0.17 |  |  |  | 0.83857 |  | 0.1356 |  | 0 | mg/mL
8.076 |  | 0.302 |  |  | 18.46 |  |  |  | 92.063 |  | 15.01 | CIPRO | 0.004143 | mg/mL
8.622 |  | 0.322 |  |  | 0.28 |  |  |  | 1.3792 |  | 0.2178 |  | 0 | mg/mL
10.204 |  | 0.381 |  |  | 0.17 |  |  |  | 0.82968 |  | 0.08592 |  | 0 | mg/mL
12.731 |  | 0.476 |  |  | 0.32 |  |  |  | 1.5763 |  | 0.1704 |  | 0 | mg/mL
14.355 |  | 0.537 |  |  | 0.95 |  |  |  | 4.7636 |  | 0.5671 |  | 0 | mg/mL
15.401 |  | 0.576 |  |  | 35.38 |  |  |  | 176.50 |  | 22.01 |  | 0 | mg/mL
15.783 |  | 0.590 |  |  | 0.34 |  |  |  | 1.7077 |  | 0.2192 |  | 0 | mg/mL
16.906 |  | 0.632 |  |  | 0.47 |  |  |  | 2.3386 |  | 0.2352 |  | 0 | mg/mL
18.264 |  | 0.683 |  |  | 0.09 |  |  |  | 0.44200 |  | 0.06515 |  | 0 | mg/mL
18.724 |  | 0.700 |  |  | 0.11 |  |  |  | 0.52577 |  | 0.06925 |  | 0 | mg/mL
19.065 |  | 0.713 |  |  | 16.31 |  |  |  | 81.345 |  | 9.802 |  | 0 | mg/mL
20.359 |  | 0.761 |  |  | 0.21 |  |  |  | 1.0332 |  | 0.1378 |  | 0 | mg/mL
20.52 |  | 0.767 |  |  | 0.21 |  |  |  | 1.0476 |  | 0.1294 |  | 0 | mg/mL
21.257 |  | 0.795 |  |  | 0.16 |  |  |  | 0.77634 |  | 0.09145 |  | 0 | mg/mL
22.147 |  | 0.828 |  |  | 0.21 |  |  |  | 1.0343 |  | 0.1397 |  | 0 | mg/mL
22.53 |  | 0.842 |  |  | 24.58 |  |  |  | 122.61 |  | 15.70 |  | 0 | mg/mL
23.369 |  | 0.874 |  |  | 0.13 |  |  |  | 0.65790 |  | 0.08472 |  | 0 | mg/mL
26.752 |  | 1.00 |  |  | 0.2 |  |  |  | 0.97467 |  | 0.1053 | R2/R3 | 0.0002760 | mg/mL
28.765 |  | 1.08 |  |  | 0.13 |  |  |  | 0.64875 |  | 0.07159 |  | 0 | mg/mL
29.119 |  | 1.09 |  |  | 0.18 |  |  |  | 0.89100 |  | 0.1215 |  | 0 | mg/mL
29.936 |  | 1.12 |  |  | 0.55 |  |  |  | 2.7294 |  | 0.2702 |  | 0 | mg/mL
| Calibration Update: | [6 empty] | 3/3/2021 10:57:02 PM
| Compound: |  |  | CIPRO
| Signal: |  |  | DAD1D
| Exp. RT: |  |  | 8.057
| Corr. Coeff.: |  |  | 1
| Residual: |  |  | 0
RF RSD%:
| Formula: |  |  | y = ax + b
| a: |  |  | 22222.8088
| b: |  |  | 0
| Compound: |  |  | R2/R3
| Signal: |  |  | DAD1D
| Exp. RT: |  |  | 26.717
| Corr. Coeff.: |  |  | 1
| Residual: |  |  | 0
RF RSD%:
| Formula: |  |  | y = ax + b
| a: |  |  | 3531.3627
| b: |  |  | 0

## Page 17
Data file: |  | C:\Users\Public\Documents\ChemStation\1\Data\EC\EC-21-013-DOE9101112 2021-03-03 21-34-38\EC-21-014-DOE10-R4-T51 03-03-41.D
Sample name: |  | EC-21-014-DOE10-R4-T5
Description:
Sample amount: |  | 0 | Sample type: |  | Sample
Instrument: |  | Arwen | Location: |  | P2-D1
Injection date: |  | 3/4/2021 3:04:30 AM | Injection: |  | 1 of 1
Acq. method: |  | CiproRelSub278.M | Injection volume: |  | 5.000
Analysis method: |  | CiproRelSub278.M | Acq. operator: |  | SYSTEM
Last changed: |  | 2/26/2021 3:26:45 PM
Column name:
Serial #:
Diameter:
| Length: |  |  | # Injections:

## Page 18
| Signal: | [5 empty] | DAD1 D, Sig=278,4 Ref=off
| RT [min] |  | Expected |  |  | Compound |  |  |  | Amount [mg/mL]
| 8.085 |  | 8.057 |  |  | CIPRO |  |  |  | 0.000188826285160472
| 26.913 |  | 26.717 |  |  | R2/R3 |  |  |  | 0.0664355602566951
Signal: | [6 empty] | DAD1 D, Sig=278,4 Ref=off
Peak Retention Time |  | RRT (ISTD) |  |  | Peak Area Percent |  |  |  | Area |  | Height | Compound | Compound Amount | Units
2.386 |  | 0.0887 |  |  | 0.19 |  |  |  | 1.3670 |  | 0.4493 |  | 0 | mg/mL
5.821 |  | 0.216 |  |  | 0.13 |  |  |  | 0.93413 |  | 0.1822 |  | 0 | mg/mL
6.157 |  | 0.229 |  |  | 0.13 |  |  |  | 0.90716 |  | 0.1665 |  | 0 | mg/mL
8.085 |  | 0.300 |  |  | 0.59 |  |  |  | 4.1963 |  | 0.6771 | CIPRO | 0.0001888 | mg/mL
9.772 |  | 0.363 |  |  | 18.64 |  |  |  | 131.97 |  | 21.09 |  | 0 | mg/mL
12.367 |  | 0.460 |  |  | 0.07 |  |  |  | 0.52810 |  | 0.08654 |  | 0 | mg/mL
14.353 |  | 0.533 |  |  | 1.24 |  |  |  | 8.7812 |  | 1.096 |  | 0 | mg/mL
14.812 |  | 0.550 |  |  | 0.13 |  |  |  | 0.94514 |  | 0.1335 |  | 0 | mg/mL
15.446 |  | 0.574 |  |  | 1.76 |  |  |  | 12.462 |  | 1.530 |  | 0 | mg/mL
16.904 |  | 0.628 |  |  | 0.8 |  |  |  | 5.6342 |  | 0.6774 |  | 0 | mg/mL
18.207 |  | 0.677 |  |  | 0.07 |  |  |  | 0.52741 |  | 0.06803 |  | 0 | mg/mL
19.064 |  | 0.708 |  |  | 0.13 |  |  |  | 0.91189 |  | 0.1161 |  | 0 | mg/mL
20.523 |  | 0.763 |  |  | 1.94 |  |  |  | 13.707 |  | 1.932 |  | 0 | mg/mL
20.743 |  | 0.771 |  |  | 39.95 |  |  |  | 282.80 |  | 36.14 |  | 0 | mg/mL
22.052 |  | 0.819 |  |  | 0.08 |  |  |  | 0.55022 |  | 0.07724 |  | 0 | mg/mL
22.591 |  | 0.839 |  |  | 0.13 |  |  |  | 0.89044 |  | 0.1294 |  | 0 | mg/mL
22.834 |  | 0.848 |  |  | 0.18 |  |  |  | 1.2915 |  | 0.1715 |  | 0 | mg/mL
23.169 |  | 0.861 |  |  | 0.09 |  |  |  | 0.67111 |  | 0.1049 |  | 0 | mg/mL
26.913 |  | 1.00 |  |  | 33.14 |  |  |  | 234.61 |  | 30.89 | R2/R3 | 0.06644 | mg/mL
28.488 |  | 1.06 |  |  | 0.2 |  |  |  | 1.4149 |  | 0.1610 |  | 0 | mg/mL
29.932 |  | 1.11 |  |  | 0.4 |  |  |  | 2.8611 |  | 0.2682 |  | 0 | mg/mL
| Calibration Update: | [6 empty] | 3/3/2021 10:57:02 PM
| Compound: |  |  | CIPRO
| Signal: |  |  | DAD1D
| Exp. RT: |  |  | 8.057
| Corr. Coeff.: |  |  | 1
| Residual: |  |  | 0
RF RSD%:
| Formula: |  |  | y = ax + b
| a: |  |  | 22222.8088
| b: |  |  | 0
| Compound: |  |  | R2/R3
| Signal: |  |  | DAD1D
| Exp. RT: |  |  | 26.717
| Corr. Coeff.: |  |  | 1
| Residual: |  |  | 0
RF RSD%:
| Formula: |  |  | y = ax + b
| a: |  |  | 3531.3627
| b: |  |  | 0

## Page 19
Data file: |  | C:\Users\Public\Documents\ChemStation\1\Data\EC\EC-21-013-DOE9101112 2021-03-03 21-34-38\EC-21-014-DOE10-R4-T151 03-44-44.D
Sample name: |  | EC-21-014-DOE10-R4-T15
Description:
Sample amount: |  | 0 | Sample type: |  | Sample
Instrument: |  | Arwen | Location: |  | P2-D2
Injection date: |  | 3/4/2021 3:45:31 AM | Injection: |  | 1 of 1
Acq. method: |  | CiproRelSub278.M | Injection volume: |  | 5.000
Analysis method: |  | CiproRelSub278.M | Acq. operator: |  | SYSTEM
Last changed: |  | 2/26/2021 3:26:45 PM
Column name:
Serial #:
Diameter:
| Length: |  |  | # Injections:

## Page 20
| Signal: | [5 empty] | DAD1 D, Sig=278,4 Ref=off
| RT [min] |  | Expected |  |  | Compound |  |  |  | Amount [mg/mL]
| 8.084 |  | 8.057 |  |  | CIPRO |  |  |  | 0.00035999547512555
| 26.915 |  | 26.717 |  |  | R2/R3 |  |  |  | 0.0460446572894004
Signal: | [6 empty] | DAD1 D, Sig=278,4 Ref=off
Peak Retention Time |  | RRT (ISTD) |  |  | Peak Area Percent |  |  |  | Area |  | Height | Compound | Compound Amount | Units
2.385 |  | 0.0886 |  |  | 0.16 |  |  |  | 1.3763 |  | 0.4540 |  | 0 | mg/mL
5.824 |  | 0.216 |  |  | 0.28 |  |  |  | 2.4037 |  | 0.4560 |  | 0 | mg/mL
6.155 |  | 0.229 |  |  | 0.1 |  |  |  | 0.87740 |  | 0.1536 |  | 0 | mg/mL
7.033 |  | 0.261 |  |  | 0.04 |  |  |  | 0.35363 |  | 0.05561 |  | 0 | mg/mL
8.084 |  | 0.300 |  |  | 0.92 |  |  |  | 8.0001 |  | 1.273 | CIPRO | 0.0003600 | mg/mL
9.771 |  | 0.363 |  |  | 39.27 |  |  |  | 342.95 |  | 54.59 |  | 0 | mg/mL
11.258 |  | 0.418 |  |  | 0.83 |  |  |  | 7.2752 |  | 0.2162 |  | 0 | mg/mL
12.365 |  | 0.459 |  |  | 0.09 |  |  |  | 0.81140 |  | 0.1388 |  | 0 | mg/mL
14.352 |  | 0.533 |  |  | 0.95 |  |  |  | 8.2683 |  | 1.009 |  | 0 | mg/mL
14.812 |  | 0.550 |  |  | 0.1 |  |  |  | 0.86381 |  | 0.1197 |  | 0 | mg/mL
15.443 |  | 0.574 |  |  | 3.15 |  |  |  | 27.479 |  | 3.376 |  | 0 | mg/mL
16.905 |  | 0.628 |  |  | 0.56 |  |  |  | 4.9145 |  | 0.5935 |  | 0 | mg/mL
19.063 |  | 0.708 |  |  | 0.39 |  |  |  | 3.3637 |  | 0.4228 |  | 0 | mg/mL
20.523 |  | 0.763 |  |  | 1.17 |  |  |  | 10.247 |  | 1.452 |  | 0 | mg/mL
20.743 |  | 0.771 |  |  | 32.09 |  |  |  | 280.29 |  | 36.00 |  | 0 | mg/mL
22.566 |  | 0.838 |  |  | 0.14 |  |  |  | 1.2592 |  | 0.1478 |  | 0 | mg/mL
22.831 |  | 0.848 |  |  | 0.38 |  |  |  | 3.3062 |  | 0.4343 |  | 0 | mg/mL
23.187 |  | 0.862 |  |  | 0.11 |  |  |  | 0.98081 |  | 0.1219 |  | 0 | mg/mL
23.394 |  | 0.869 |  |  | 0.11 |  |  |  | 0.98736 |  | 0.1203 |  | 0 | mg/mL
26.915 |  | 1.00 |  |  | 18.62 |  |  |  | 162.60 |  | 21.33 | R2/R3 | 0.04604 | mg/mL
27.595 |  | 1.03 |  |  | 0.04 |  |  |  | 0.31958 |  | 0.05334 |  | 0 | mg/mL
28.491 |  | 1.06 |  |  | 0.12 |  |  |  | 1.0640 |  | 0.1399 |  | 0 | mg/mL
29.065 |  | 1.08 |  |  | 0.07 |  |  |  | 0.58821 |  | 0.06983 |  | 0 | mg/mL
29.936 |  | 1.11 |  |  | 0.33 |  |  |  | 2.8468 |  | 0.2728 |  | 0 | mg/mL
| Calibration Update: | [6 empty] | 3/3/2021 10:57:02 PM
| Compound: |  |  | CIPRO
| Signal: |  |  | DAD1D
| Exp. RT: |  |  | 8.057
| Corr. Coeff.: |  |  | 1
| Residual: |  |  | 0
RF RSD%:
| Formula: |  |  | y = ax + b
| a: |  |  | 22222.8088
| b: |  |  | 0
| Compound: |  |  | R2/R3
| Signal: |  |  | DAD1D
| Exp. RT: |  |  | 26.717
| Corr. Coeff.: |  |  | 1
| Residual: |  |  | 0
RF RSD%:
| Formula: |  |  | y = ax + b
| a: |  |  | 3531.3627
| b: |  |  | 0

## Page 21
Data file: |  | C:\Users\Public\Documents\ChemStation\1\Data\EC\EC-21-013-DOE9101112 2021-03-03 21-34-38\AVF-21-013-CIP11 04-25-47.D
Sample name: |  | AVF-21-013-CIP1
Description:
Sample amount: |  | 0 | Sample type: |  | Calibration
Instrument: |  | Arwen | Location: |  | P1-A5
Injection date: |  | 3/4/2021 4:26:34 AM | Injection: |  | 1 of 1
Acq. method: |  | CiproRelSub278.M | Injection volume: |  | 5.000
Analysis method: |  | CiproRelSub278.M | Acq. operator: |  | SYSTEM
Last changed: |  | 2/26/2021 3:26:45 PM
Column name:
Serial #:
Diameter:
| Length: |  |  | # Injections:

## Page 22
| Signal: |  |  |  |  | DAD1 D, Sig=278,4 Ref=off
| RT [min] |  | Expected |  | Compound |  |  | Amount [mg/mL]
| 8.071 |  | 8.071 |  | CIPRO |  |  | 0.208
Signal: | [5 empty] | DAD1 D, Sig=278,4 Ref=off
Peak Retention Time |  | RRT (ISTD) |  | Peak Area Percent |  |  | Area |  | Height | Compound | Compound Amount | Units
|  | 0 |  |  |  |  | 0 |  | 0 | R2/R3 | 0 | mg/mL
5.846 |  | 0.724 |  | 0.07 |  |  | 3.2936 |  | 0.6039 |  | 0 | mg/mL
7.117 |  | 0.882 |  | 0.35 |  |  | 16.387 |  | 1.853 |  | 0 | mg/mL
8.071 |  | 1.00 |  | 99.49 |  |  | 4627.1 |  | 737.6 | CIPRO | 0.2080 | mg/mL
14.258 |  | 1.77 |  | 0.02 |  |  | 1.1136 |  | 0.1501 |  | 0 | mg/mL
29.937 |  | 3.71 |  | 0.06 |  |  | 2.8072 |  | 0.2799 |  | 0 | mg/mL

## Page 23
Data file: |  | C:\Users\Public\Documents\ChemStation\1\Data\EC\EC-21-013-DOE9101112 2021-03-03 21-34-38\EC-21-014-DOE10-R4-T301 05-06-50.D
Sample name: |  | EC-21-014-DOE10-R4-T30
Description:
Sample amount: |  | 0 | Sample type: |  | Sample
Instrument: |  | Arwen | Location: |  | P2-D3
Injection date: |  | 3/4/2021 5:07:36 AM | Injection: |  | 1 of 1
Acq. method: |  | CiproRelSub278.M | Injection volume: |  | 5.000
Analysis method: |  | CiproRelSub278.M | Acq. operator: |  | SYSTEM
Last changed: |  | 2/26/2021 3:26:45 PM
Column name:
Serial #:
Diameter:
| Length: |  |  | # Injections:

## Page 24
| Signal: | [5 empty] | DAD1 D, Sig=278,4 Ref=off
| RT [min] |  | Expected |  |  | Compound |  |  |  | Amount [mg/mL]
| 8.086 |  | 8.071 |  |  | CIPRO |  |  |  | 0.000651844291898746
| 26.909 |  | 26.717 |  |  | R2/R3 |  |  |  | 0.042080959869965
Signal: | [6 empty] | DAD1 D, Sig=278,4 Ref=off
Peak Retention Time |  | RRT (ISTD) |  |  | Peak Area Percent |  |  |  | Area |  | Height | Compound | Compound Amount | Units
2.385 |  | 0.0886 |  |  | 0.11 |  |  |  | 1.4414 |  | 0.4739 |  | 0 | mg/mL
5.825 |  | 0.216 |  |  | 0.43 |  |  |  | 5.5379 |  | 0.9822 |  | 0 | mg/mL
6.156 |  | 0.229 |  |  | 0.06 |  |  |  | 0.83568 |  | 0.1594 |  | 0 | mg/mL
6.57 |  | 0.244 |  |  | 0.05 |  |  |  | 0.61587 |  | 0.09169 |  | 0 | mg/mL
7.036 |  | 0.261 |  |  | 0.03 |  |  |  | 0.38382 |  | 0.06218 |  | 0 | mg/mL
8.086 |  | 0.300 |  |  | 1.11 |  |  |  | 14.501 |  | 2.319 | CIPRO | 0.0006518 | mg/mL
8.714 |  | 0.324 |  |  | 0.02 |  |  |  | 0.29562 |  | 0.04904 |  | 0 | mg/mL
9.771 |  | 0.363 |  |  | 55.76 |  |  |  | 726.51 |  | 115.3 |  | 0 | mg/mL
11.041 |  | 0.410 |  |  | 0.57 |  |  |  | 7.3890 |  | 0.5821 |  | 0 | mg/mL
11.283 |  | 0.419 |  |  | 1.15 |  |  |  | 14.934 |  | 0.4733 |  | 0 | mg/mL
12.368 |  | 0.460 |  |  | 0.13 |  |  |  | 1.6792 |  | 0.2008 |  | 0 | mg/mL
14.355 |  | 0.533 |  |  | 0.74 |  |  |  | 9.6541 |  | 1.169 |  | 0 | mg/mL
14.809 |  | 0.550 |  |  | 0.08 |  |  |  | 1.0391 |  | 0.1372 |  | 0 | mg/mL
15.444 |  | 0.574 |  |  | 3.68 |  |  |  | 47.925 |  | 5.949 |  | 0 | mg/mL
16.904 |  | 0.628 |  |  | 0.4 |  |  |  | 5.1940 |  | 0.6323 |  | 0 | mg/mL
19.065 |  | 0.708 |  |  | 0.08 |  |  |  | 1.0298 |  | 0.1313 |  | 0 | mg/mL
19.445 |  | 0.723 |  |  | 0.07 |  |  |  | 0.94959 |  | 0.08682 |  | 0 | mg/mL
20.52 |  | 0.763 |  |  | 0.85 |  |  |  | 11.088 |  | 1.545 |  | 0 | mg/mL
20.741 |  | 0.771 |  |  | 21.97 |  |  |  | 286.21 |  | 36.48 |  | 0 | mg/mL
22.565 |  | 0.839 |  |  | 0.07 |  |  |  | 0.93118 |  | 0.1137 |  | 0 | mg/mL
22.829 |  | 0.848 |  |  | 0.48 |  |  |  | 6.2164 |  | 0.8405 |  | 0 | mg/mL
23.204 |  | 0.862 |  |  | 0.12 |  |  |  | 1.5248 |  | 0.1874 |  | 0 | mg/mL
23.391 |  | 0.869 |  |  | 0.16 |  |  |  | 2.0685 |  | 0.2462 |  | 0 | mg/mL
26.909 |  | 1.00 |  |  | 11.4 |  |  |  | 148.60 |  | 19.39 | R2/R3 | 0.04208 | mg/mL
28.484 |  | 1.06 |  |  | 0.1 |  |  |  | 1.3618 |  | 0.1681 |  | 0 | mg/mL
29.069 |  | 1.08 |  |  | 0.16 |  |  |  | 2.0607 |  | 0.2557 |  | 0 | mg/mL
29.933 |  | 1.11 |  |  | 0.23 |  |  |  | 3.0383 |  | 0.2753 |  | 0 | mg/mL
| Calibration Update: | [6 empty] | 3/4/2021 5:06:45 AM
| Compound: |  |  | CIPRO
| Signal: |  |  | DAD1D
| Exp. RT: |  |  | 8.071
| Corr. Coeff.: |  |  | 1
| Residual: |  |  | 0
RF RSD%:
| Formula: |  |  | y = ax + b
| a: |  |  | 22245.6383
| b: |  |  | 0
| Compound: |  |  | R2/R3
| Signal: |  |  | DAD1D
| Exp. RT: |  |  | 26.717
| Corr. Coeff.: |  |  | 1
| Residual: |  |  | 0
RF RSD%:
| Formula: |  |  | y = ax + b
| a: |  |  | 3531.3627
| b: |  |  | 0

## Page 25
Data file: |  | C:\Users\Public\Documents\ChemStation\1\Data\EC\EC-21-013-DOE9101112 2021-03-03 21-34-38\EC-21-014-DOE10-R5-T21 05-47-51.D
Sample name: |  | EC-21-014-DOE10-R5-T2
Description:
Sample amount: |  | 0 | Sample type: |  | Sample
Instrument: |  | Arwen | Location: |  | P2-D4
Injection date: |  | 3/4/2021 5:48:37 AM | Injection: |  | 1 of 1
Acq. method: |  | CiproRelSub278.M | Injection volume: |  | 5.000
Analysis method: |  | CiproRelSub278.M | Acq. operator: |  | SYSTEM
Last changed: |  | 2/26/2021 3:26:45 PM
Column name:
Serial #:
Diameter:
| Length: |  |  | # Injections:

## Page 26
| Signal: | [5 empty] | DAD1 D, Sig=278,4 Ref=off
| RT [min] |  | Expected |  |  | Compound |  |  |  | Amount [mg/mL]
| 8.078 |  | 8.071 |  |  | CIPRO |  |  |  | 0.0378157187320011
| 26.746 |  | 26.717 |  |  | R2/R3 |  |  |  | 0.000601448232686506
Signal: | [6 empty] | DAD1 D, Sig=278,4 Ref=off
Peak Retention Time |  | RRT (ISTD) |  |  | Peak Area Percent |  |  |  | Area |  | Height | Compound | Compound Amount | Units
2.385 |  | 0.0892 |  |  | 0.14 |  |  |  | 1.8351 |  | 0.5974 |  | 0 | mg/mL
5.825 |  | 0.218 |  |  | 0.42 |  |  |  | 5.6464 |  | 0.9832 |  | 0 | mg/mL
7.042 |  | 0.263 |  |  | 0.09 |  |  |  | 1.1466 |  | 0.1547 |  | 0 | mg/mL
8.078 |  | 0.302 |  |  | 62.98 |  |  |  | 841.23 |  | 139.0 | CIPRO | 0.03782 | mg/mL
9.771 |  | 0.365 |  |  | 0.33 |  |  |  | 4.4660 |  | 0.7324 |  | 0 | mg/mL
10.363 |  | 0.387 |  |  | 0.28 |  |  |  | 3.6771 |  | 0.5133 |  | 0 | mg/mL
11.274 |  | 0.422 |  |  | 1.54 |  |  |  | 20.615 |  | 0.4834 |  | 0 | mg/mL
14.351 |  | 0.537 |  |  | 0.69 |  |  |  | 9.1510 |  | 1.082 |  | 0 | mg/mL
14.811 |  | 0.554 |  |  | 0.07 |  |  |  | 0.88302 |  | 0.1164 |  | 0 | mg/mL
15.44 |  | 0.577 |  |  | 2.83 |  |  |  | 37.789 |  | 3.954 |  | 0 | mg/mL
16.886 |  | 0.631 |  |  | 0.65 |  |  |  | 8.6539 |  | 1.061 |  | 0 | mg/mL
19.059 |  | 0.713 |  |  | 25.98 |  |  |  | 346.99 |  | 43.27 |  | 0 | mg/mL
20.514 |  | 0.767 |  |  | 1.68 |  |  |  | 22.398 |  | 2.518 |  | 0 | mg/mL
21.239 |  | 0.794 |  |  | 0.12 |  |  |  | 1.5762 |  | 0.1776 |  | 0 | mg/mL
22.143 |  | 0.828 |  |  | 0.6 |  |  |  | 8.0015 |  | 0.9966 |  | 0 | mg/mL
22.525 |  | 0.842 |  |  | 0.81 |  |  |  | 10.824 |  | 1.398 |  | 0 | mg/mL
23.163 |  | 0.866 |  |  | 0.05 |  |  |  | 0.65813 |  | 0.09951 |  | 0 | mg/mL
23.388 |  | 0.874 |  |  | 0.07 |  |  |  | 0.95257 |  | 0.1106 |  | 0 | mg/mL
26.187 |  | 0.979 |  |  | 0.04 |  |  |  | 0.53584 |  | 0.07799 |  | 0 | mg/mL
26.746 |  | 1.00 |  |  | 0.16 |  |  |  | 2.1239 |  | 0.2376 | R2/R3 | 0.0006014 | mg/mL
28.484 |  | 1.06 |  |  | 0.09 |  |  |  | 1.2102 |  | 0.1479 |  | 0 | mg/mL
28.753 |  | 1.08 |  |  | 0.18 |  |  |  | 2.4277 |  | 0.3250 |  | 0 | mg/mL
29.933 |  | 1.12 |  |  | 0.21 |  |  |  | 2.8256 |  | 0.2686 |  | 0 | mg/mL
| Calibration Update: | [6 empty] | 3/4/2021 5:06:45 AM
| Compound: |  |  | CIPRO
| Signal: |  |  | DAD1D
| Exp. RT: |  |  | 8.071
| Corr. Coeff.: |  |  | 1
| Residual: |  |  | 0
RF RSD%:
| Formula: |  |  | y = ax + b
| a: |  |  | 22245.6383
| b: |  |  | 0
| Compound: |  |  | R2/R3
| Signal: |  |  | DAD1D
| Exp. RT: |  |  | 26.717
| Corr. Coeff.: |  |  | 1
| Residual: |  |  | 0
RF RSD%:
| Formula: |  |  | y = ax + b
| a: |  |  | 3531.3627
| b: |  |  | 0

## Page 27
Data file: |  | C:\Users\Public\Documents\ChemStation\1\Data\EC\EC-21-013-DOE9101112 2021-03-03 21-34-38\EC-21-014-DOE10-R5-T41 06-28-52.D
Sample name: |  | EC-21-014-DOE10-R5-T4
Description:
Sample amount: |  | 0 | Sample type: |  | Sample
Instrument: |  | Arwen | Location: |  | P2-D5
Injection date: |  | 3/4/2021 6:29:38 AM | Injection: |  | 1 of 1
Acq. method: |  | CiproRelSub278.M | Injection volume: |  | 5.000
Analysis method: |  | CiproRelSub278.M | Acq. operator: |  | SYSTEM
Last changed: |  | 2/26/2021 3:26:45 PM
Column name:
Serial #:
Diameter:
| Length: |  |  | # Injections:

## Page 28
| Signal: | [5 empty] | DAD1 D, Sig=278,4 Ref=off
| RT [min] |  | Expected |  |  | Compound |  |  |  | Amount [mg/mL]
| 8.078 |  | 8.071 |  |  | CIPRO |  |  |  | 0.03536431867928
| 26.745 |  | 26.717 |  |  | R2/R3 |  |  |  | 0.000462862309106489
Signal: | [6 empty] | DAD1 D, Sig=278,4 Ref=off
Peak Retention Time |  | RRT (ISTD) |  |  | Peak Area Percent |  |  |  | Area |  | Height | Compound | Compound Amount | Units
2.385 |  | 0.0892 |  |  | 0.15 |  |  |  | 1.8032 |  | 0.5844 |  | 0 | mg/mL
5.827 |  | 0.218 |  |  | 0.42 |  |  |  | 5.2657 |  | 0.9323 |  | 0 | mg/mL
7.042 |  | 0.263 |  |  | 0.1 |  |  |  | 1.2083 |  | 0.1502 |  | 0 | mg/mL
8.078 |  | 0.302 |  |  | 63.43 |  |  |  | 786.70 |  | 129.9 | CIPRO | 0.03536 | mg/mL
10.364 |  | 0.388 |  |  | 0.27 |  |  |  | 3.3313 |  | 0.4334 |  | 0 | mg/mL
11.271 |  | 0.421 |  |  | 1.62 |  |  |  | 20.030 |  | 0.4572 |  | 0 | mg/mL
14.35 |  | 0.537 |  |  | 0.68 |  |  |  | 8.3825 |  | 1.011 |  | 0 | mg/mL
14.802 |  | 0.553 |  |  | 0.08 |  |  |  | 0.98634 |  | 0.1273 |  | 0 | mg/mL
15.428 |  | 0.577 |  |  | 3.46 |  |  |  | 42.903 |  | 4.569 |  | 0 | mg/mL
16.888 |  | 0.631 |  |  | 0.48 |  |  |  | 6.0121 |  | 0.7450 |  | 0 | mg/mL
19.058 |  | 0.713 |  |  | 25.2 |  |  |  | 312.51 |  | 38.97 |  | 0 | mg/mL
20.513 |  | 0.767 |  |  | 1.51 |  |  |  | 18.716 |  | 2.109 |  | 0 | mg/mL
21.238 |  | 0.794 |  |  | 0.1 |  |  |  | 1.2394 |  | 0.1547 |  | 0 | mg/mL
22.143 |  | 0.828 |  |  | 0.6 |  |  |  | 7.4037 |  | 0.9419 |  | 0 | mg/mL
22.524 |  | 0.842 |  |  | 1.17 |  |  |  | 14.535 |  | 1.869 |  | 0 | mg/mL
23.161 |  | 0.866 |  |  | 0.05 |  |  |  | 0.60536 |  | 0.08843 |  | 0 | mg/mL
23.392 |  | 0.875 |  |  | 0.06 |  |  |  | 0.71824 |  | 0.08707 |  | 0 | mg/mL
26.192 |  | 0.979 |  |  | 0.04 |  |  |  | 0.54817 |  | 0.07184 |  | 0 | mg/mL
26.745 |  | 1.00 |  |  | 0.13 |  |  |  | 1.6345 |  | 0.1918 | R2/R3 | 0.0004629 | mg/mL
28.478 |  | 1.06 |  |  | 0.06 |  |  |  | 0.77212 |  | 0.1138 |  | 0 | mg/mL
28.756 |  | 1.08 |  |  | 0.16 |  |  |  | 1.9454 |  | 0.2680 |  | 0 | mg/mL
29.93 |  | 1.12 |  |  | 0.24 |  |  |  | 2.9434 |  | 0.2784 |  | 0 | mg/mL
| Calibration Update: | [6 empty] | 3/4/2021 5:06:45 AM
| Compound: |  |  | CIPRO
| Signal: |  |  | DAD1D
| Exp. RT: |  |  | 8.071
| Corr. Coeff.: |  |  | 1
| Residual: |  |  | 0
RF RSD%:
| Formula: |  |  | y = ax + b
| a: |  |  | 22245.6383
| b: |  |  | 0
| Compound: |  |  | R2/R3
| Signal: |  |  | DAD1D
| Exp. RT: |  |  | 26.717
| Corr. Coeff.: |  |  | 1
| Residual: |  |  | 0
RF RSD%:
| Formula: |  |  | y = ax + b
| a: |  |  | 3531.3627
| b: |  |  | 0

## Page 29
Data file: |  | C:\Users\Public\Documents\ChemStation\1\Data\EC\EC-21-013-DOE9101112 2021-03-03 21-34-38\EC-21-014-DOE10-R5-T61 07-09-54.D
Sample name: |  | EC-21-014-DOE10-R5-T6
Description:
Sample amount: |  | 0 | Sample type: |  | Sample
Instrument: |  | Arwen | Location: |  | P2-D6
Injection date: |  | 3/4/2021 7:10:41 AM | Injection: |  | 1 of 1
Acq. method: |  | CiproRelSub278.M | Injection volume: |  | 5.000
Analysis method: |  | CiproRelSub278.M | Acq. operator: |  | SYSTEM
Last changed: |  | 2/26/2021 3:26:45 PM
Column name:
Serial #:
Diameter:
| Length: |  |  | # Injections:

## Page 30
| Signal: | [5 empty] | DAD1 D, Sig=278,4 Ref=off
| RT [min] |  | Expected |  |  | Compound |  |  |  | Amount [mg/mL]
| 8.08 |  | 8.071 |  |  | CIPRO |  |  |  | 0.0354770734019636
| 26.751 |  | 26.717 |  |  | R2/R3 |  |  |  | 0.000246911073139337
Signal: | [6 empty] | DAD1 D, Sig=278,4 Ref=off
Peak Retention Time |  | RRT (ISTD) |  |  | Peak Area Percent |  |  |  | Area |  | Height | Compound | Compound Amount | Units
2.385 |  | 0.0892 |  |  | 0.14 |  |  |  | 1.7710 |  | 0.5754 |  | 0 | mg/mL
5.826 |  | 0.218 |  |  | 0.41 |  |  |  | 5.0978 |  | 0.9246 |  | 0 | mg/mL
7.038 |  | 0.263 |  |  | 0.09 |  |  |  | 1.1080 |  | 0.1501 |  | 0 | mg/mL
8.08 |  | 0.302 |  |  | 62.99 |  |  |  | 789.21 |  | 130.8 | CIPRO | 0.03548 | mg/mL
9.772 |  | 0.365 |  |  | 0.24 |  |  |  | 3.0194 |  | 0.4994 |  | 0 | mg/mL
10.367 |  | 0.388 |  |  | 0.24 |  |  |  | 3.0095 |  | 0.4007 |  | 0 | mg/mL
11.265 |  | 0.421 |  |  | 1.62 |  |  |  | 20.328 |  | 0.4500 |  | 0 | mg/mL
12.736 |  | 0.476 |  |  | 0.06 |  |  |  | 0.73268 |  | 0.06806 |  | 0 | mg/mL
14.352 |  | 0.536 |  |  | 0.69 |  |  |  | 8.7013 |  | 1.023 |  | 0 | mg/mL
14.8 |  | 0.553 |  |  | 0.07 |  |  |  | 0.91792 |  | 0.1209 |  | 0 | mg/mL
15.424 |  | 0.577 |  |  | 3.97 |  |  |  | 49.764 |  | 5.344 |  | 0 | mg/mL
16.892 |  | 0.631 |  |  | 0.42 |  |  |  | 5.2017 |  | 0.6365 |  | 0 | mg/mL
19.06 |  | 0.712 |  |  | 24.34 |  |  |  | 304.97 |  | 38.00 |  | 0 | mg/mL
20.515 |  | 0.767 |  |  | 1.34 |  |  |  | 16.732 |  | 1.967 |  | 0 | mg/mL
20.731 |  | 0.775 |  |  | 0.44 |  |  |  | 5.5683 |  | 0.6250 |  | 0 | mg/mL
21.241 |  | 0.794 |  |  | 0.13 |  |  |  | 1.6180 |  | 0.1738 |  | 0 | mg/mL
22.145 |  | 0.828 |  |  | 0.59 |  |  |  | 7.3621 |  | 0.9482 |  | 0 | mg/mL
22.527 |  | 0.842 |  |  | 1.51 |  |  |  | 18.881 |  | 2.425 |  | 0 | mg/mL
23.162 |  | 0.866 |  |  | 0.05 |  |  |  | 0.56905 |  | 0.09062 |  | 0 | mg/mL
23.388 |  | 0.874 |  |  | 0.06 |  |  |  | 0.76225 |  | 0.08937 |  | 0 | mg/mL
26.19 |  | 0.979 |  |  | 0.05 |  |  |  | 0.66042 |  | 0.07733 |  | 0 | mg/mL
26.751 |  | 1.00 |  |  | 0.07 |  |  |  | 0.87193 |  | 0.1192 | R2/R3 | 0.0002469 | mg/mL
28.478 |  | 1.06 |  |  | 0.08 |  |  |  | 1.0608 |  | 0.1220 |  | 0 | mg/mL
28.754 |  | 1.07 |  |  | 0.16 |  |  |  | 2.0609 |  | 0.2721 |  | 0 | mg/mL
29.928 |  | 1.12 |  |  | 0.24 |  |  |  | 3.0087 |  | 0.2783 |  | 0 | mg/mL
| Calibration Update: | [6 empty] | 3/4/2021 5:06:45 AM
| Compound: |  |  | CIPRO
| Signal: |  |  | DAD1D
| Exp. RT: |  |  | 8.071
| Corr. Coeff.: |  |  | 1
| Residual: |  |  | 0
RF RSD%:
| Formula: |  |  | y = ax + b
| a: |  |  | 22245.6383
| b: |  |  | 0
| Compound: |  |  | R2/R3
| Signal: |  |  | DAD1D
| Exp. RT: |  |  | 26.717
| Corr. Coeff.: |  |  | 1
| Residual: |  |  | 0
RF RSD%:
| Formula: |  |  | y = ax + b
| a: |  |  | 3531.3627
| b: |  |  | 0

## Page 31
Data file: |  | C:\Users\Public\Documents\ChemStation\1\Data\EC\EC-21-013-DOE9101112 2021-03-03 21-34-38\EC-21-014-DOE11-R4-T51 07-51-00.D
Sample name: |  | EC-21-014-DOE11-R4-T5
Description:
Sample amount: |  | 0 | Sample type: |  | Sample
Instrument: |  | Arwen | Location: |  | P2-E1
Injection date: |  | 3/4/2021 7:51:50 AM | Injection: |  | 1 of 1
Acq. method: |  | CiproRelSub278.M | Injection volume: |  | 5.000
Analysis method: |  | CiproRelSub278.M | Acq. operator: |  | SYSTEM
Last changed: |  | 2/26/2021 3:26:45 PM
Column name:
Serial #:
Diameter:
| Length: |  |  | # Injections:

## Page 32
| Signal: | [5 empty] | DAD1 D, Sig=278,4 Ref=off
| RT [min] |  | Expected |  |  | Compound |  |  |  | Amount [mg/mL]
| 8.079 |  | 8.071 |  |  | CIPRO |  |  |  | 0.00182839083792954
| 26.745 |  | 26.717 |  |  | R2/R3 |  |  |  | 0.000218751877022589
Signal: | [6 empty] | DAD1 D, Sig=278,4 Ref=off
Peak Retention Time |  | RRT (ISTD) |  |  | Peak Area Percent |  |  |  | Area |  | Height | Compound | Compound Amount | Units
2.385 |  | 0.0892 |  |  | 0.21 |  |  |  | 1.4446 |  | 0.4691 |  | 0 | mg/mL
5.824 |  | 0.218 |  |  | 0.17 |  |  |  | 1.1167 |  | 0.2196 |  | 0 | mg/mL
6.157 |  | 0.230 |  |  | 0.05 |  |  |  | 0.30545 |  | 0.06758 |  | 0 | mg/mL
8.079 |  | 0.302 |  |  | 6.03 |  |  |  | 40.674 |  | 6.664 | CIPRO | 0.001828 | mg/mL
9.768 |  | 0.365 |  |  | 52.81 |  |  |  | 355.94 |  | 56.30 |  | 0 | mg/mL
14.349 |  | 0.537 |  |  | 0.8 |  |  |  | 5.3720 |  | 0.6632 |  | 0 | mg/mL
14.801 |  | 0.553 |  |  | 0.08 |  |  |  | 0.52328 |  | 0.07515 |  | 0 | mg/mL
15.426 |  | 0.577 |  |  | 1.06 |  |  |  | 7.1283 |  | 0.8255 |  | 0 | mg/mL
16.882 |  | 0.631 |  |  | 1.07 |  |  |  | 7.2340 |  | 0.8779 |  | 0 | mg/mL
19.056 |  | 0.713 |  |  | 10.3 |  |  |  | 69.446 |  | 8.670 |  | 0 | mg/mL
20.514 |  | 0.767 |  |  | 1.55 |  |  |  | 10.420 |  | 1.482 |  | 0 | mg/mL
20.735 |  | 0.775 |  |  | 24.69 |  |  |  | 166.40 |  | 21.16 |  | 0 | mg/mL
22.818 |  | 0.853 |  |  | 0.5 |  |  |  | 3.4019 |  | 0.2387 |  | 0 | mg/mL
23.172 |  | 0.866 |  |  | 0.07 |  |  |  | 0.44201 |  | 0.06638 |  | 0 | mg/mL
26.745 |  | 1.00 |  |  | 0.11 |  |  |  | 0.77249 |  | 0.1034 | R2/R3 | 0.0002188 | mg/mL
28.485 |  | 1.07 |  |  | 0.11 |  |  |  | 0.73150 |  | 0.09435 |  | 0 | mg/mL
29.925 |  | 1.12 |  |  | 0.39 |  |  |  | 2.6591 |  | 0.2793 |  | 0 | mg/mL
| Calibration Update: | [6 empty] | 3/4/2021 5:06:45 AM
| Compound: |  |  | CIPRO
| Signal: |  |  | DAD1D
| Exp. RT: |  |  | 8.071
| Corr. Coeff.: |  |  | 1
| Residual: |  |  | 0
RF RSD%:
| Formula: |  |  | y = ax + b
| a: |  |  | 22245.6383
| b: |  |  | 0
| Compound: |  |  | R2/R3
| Signal: |  |  | DAD1D
| Exp. RT: |  |  | 26.717
| Corr. Coeff.: |  |  | 1
| Residual: |  |  | 0
RF RSD%:
| Formula: |  |  | y = ax + b
| a: |  |  | 3531.3627
| b: |  |  | 0

## Page 33
Data file: |  | C:\Users\Public\Documents\ChemStation\1\Data\EC\EC-21-013-DOE9101112 2021-03-03 21-34-38\EC-21-014-DOE11-R4-T151 08-32-04.D
Sample name: |  | EC-21-014-DOE11-R4-T15
Description:
Sample amount: |  | 0 | Sample type: |  | Sample
Instrument: |  | Arwen | Location: |  | P2-E2
Injection date: |  | 3/4/2021 8:32:52 AM | Injection: |  | 1 of 1
Acq. method: |  | CiproRelSub278.M | Injection volume: |  | 5.000
Analysis method: |  | CiproRelSub278.M | Acq. operator: |  | SYSTEM
Last changed: |  | 2/26/2021 3:26:45 PM
Column name:
Serial #:
Diameter:
| Length: |  |  | # Injections:

## Page 34
| Signal: | [5 empty] | DAD1 D, Sig=278,4 Ref=off
| RT [min] |  | Expected |  |  | Compound |  |  |  | Amount [mg/mL]
| 8.08 |  | 8.071 |  |  | CIPRO |  |  |  | 0.00912442954972022
| 26.744 |  | 26.717 |  |  | R2/R3 |  |  |  | 0.000296076579371759
Signal: | [6 empty] | DAD1 D, Sig=278,4 Ref=off
Peak Retention Time |  | RRT (ISTD) |  |  | Peak Area Percent |  |  |  | Area |  | Height | Compound | Compound Amount | Units
2.385 |  | 0.0892 |  |  | 0.11 |  |  |  | 1.3815 |  | 0.4567 |  | 0 | mg/mL
5.825 |  | 0.218 |  |  | 0.25 |  |  |  | 3.0845 |  | 0.5832 |  | 0 | mg/mL
6.151 |  | 0.230 |  |  | 0.02 |  |  |  | 0.28412 |  | 0.05207 |  | 0 | mg/mL
6.577 |  | 0.246 |  |  | 0.03 |  |  |  | 0.38833 |  | 0.06677 |  | 0 | mg/mL
8.08 |  | 0.302 |  |  | 16.2 |  |  |  | 202.98 |  | 33.15 | CIPRO | 0.009124 | mg/mL
9.768 |  | 0.365 |  |  | 68.26 |  |  |  | 855.28 |  | 135.2 |  | 0 | mg/mL
14.349 |  | 0.537 |  |  | 0.39 |  |  |  | 4.8923 |  | 0.5958 |  | 0 | mg/mL
14.808 |  | 0.554 |  |  | 0.04 |  |  |  | 0.53635 |  | 0.06734 |  | 0 | mg/mL
15.425 |  | 0.577 |  |  | 1.06 |  |  |  | 13.340 |  | 1.584 |  | 0 | mg/mL
16.884 |  | 0.631 |  |  | 0.48 |  |  |  | 6.0442 |  | 0.7432 |  | 0 | mg/mL
19.058 |  | 0.713 |  |  | 3.85 |  |  |  | 48.211 |  | 6.010 |  | 0 | mg/mL
20.514 |  | 0.767 |  |  | 0.39 |  |  |  | 4.8461 |  | 0.6802 |  | 0 | mg/mL
20.734 |  | 0.775 |  |  | 7.86 |  |  |  | 98.531 |  | 12.59 |  | 0 | mg/mL
22.818 |  | 0.853 |  |  | 0.35 |  |  |  | 4.3606 |  | 0.3898 |  | 0 | mg/mL
23.181 |  | 0.867 |  |  | 0.04 |  |  |  | 0.49674 |  | 0.06627 |  | 0 | mg/mL
26.744 |  | 1.00 |  |  | 0.08 |  |  |  | 1.0456 |  | 0.1209 | R2/R3 | 0.0002961 | mg/mL
26.9 |  | 1.01 |  |  | 0.12 |  |  |  | 1.5095 |  | 0.1718 |  | 0 | mg/mL
28.474 |  | 1.06 |  |  | 0.05 |  |  |  | 0.57308 |  | 0.07639 |  | 0 | mg/mL
29.051 |  | 1.09 |  |  | 0.19 |  |  |  | 2.3397 |  | 0.2544 |  | 0 | mg/mL
29.923 |  | 1.12 |  |  | 0.23 |  |  |  | 2.8836 |  | 0.2790 |  | 0 | mg/mL
| Calibration Update: | [6 empty] | 3/4/2021 5:06:45 AM
| Compound: |  |  | CIPRO
| Signal: |  |  | DAD1D
| Exp. RT: |  |  | 8.071
| Corr. Coeff.: |  |  | 1
| Residual: |  |  | 0
RF RSD%:
| Formula: |  |  | y = ax + b
| a: |  |  | 22245.6383
| b: |  |  | 0
| Compound: |  |  | R2/R3
| Signal: |  |  | DAD1D
| Exp. RT: |  |  | 26.717
| Corr. Coeff.: |  |  | 1
| Residual: |  |  | 0
RF RSD%:
| Formula: |  |  | y = ax + b
| a: |  |  | 3531.3627
| b: |  |  | 0

## Page 35
Data file: |  | C:\Users\Public\Documents\ChemStation\1\Data\EC\EC-21-013-DOE9101112 2021-03-03 21-34-38\EC-21-014-DOE11-R4-T301 09-13-25.D
Sample name: |  | EC-21-014-DOE11-R4-T30
Description:
Sample amount: |  | 0 | Sample type: |  | Sample
Instrument: |  | Arwen | Location: |  | P2-E3
Injection date: |  | 3/4/2021 9:14:13 AM | Injection: |  | 1 of 1
Acq. method: |  | CiproRelSub278.M | Injection volume: |  | 5.000
Analysis method: |  | CiproRelSub278.M | Acq. operator: |  | SYSTEM
Last changed: |  | 2/26/2021 3:26:45 PM
Column name:
Serial #:
Diameter:
| Length: |  |  | # Injections:

## Page 36
| Signal: | [5 empty] | DAD1 D, Sig=278,4 Ref=off
| RT [min] |  | Expected |  |  | Compound |  |  |  | Amount [mg/mL]
| 8.078 |  | 8.071 |  |  | CIPRO |  |  |  | 0.0225485918217327
| 26.74 |  | 26.717 |  |  | R2/R3 |  |  |  | 0.0003251545143025
Signal: | [6 empty] | DAD1 D, Sig=278,4 Ref=off
Peak Retention Time |  | RRT (ISTD) |  |  | Peak Area Percent |  |  |  | Area |  | Height | Compound | Compound Amount | Units
2.385 |  | 0.0892 |  |  | 0.07 |  |  |  | 1.4065 |  | 0.4689 |  | 0 | mg/mL
5.824 |  | 0.218 |  |  | 0.31 |  |  |  | 6.2702 |  | 1.097 |  | 0 | mg/mL
6.153 |  | 0.230 |  |  | 0.02 |  |  |  | 0.41768 |  | 0.06395 |  | 0 | mg/mL
6.574 |  | 0.246 |  |  | 0.03 |  |  |  | 0.64480 |  | 0.1069 |  | 0 | mg/mL
7.058 |  | 0.264 |  |  | 0.03 |  |  |  | 0.54531 |  | 0.08511 |  | 0 | mg/mL
8.078 |  | 0.302 |  |  | 24.72 |  |  |  | 501.61 |  | 81.82 | CIPRO | 0.02255 | mg/mL
9.762 |  | 0.365 |  |  | 68.1 |  |  |  | 1382.0 |  | 218.8 |  | 0 | mg/mL
14.347 |  | 0.537 |  |  | 0.27 |  |  |  | 5.3938 |  | 0.6371 |  | 0 | mg/mL
14.803 |  | 0.554 |  |  | 0.03 |  |  |  | 0.63201 |  | 0.07259 |  | 0 | mg/mL
15.422 |  | 0.577 |  |  | 0.86 |  |  |  | 17.378 |  | 2.071 |  | 0 | mg/mL
16.418 |  | 0.614 |  |  | 0.04 |  |  |  | 0.80355 |  | 0.08798 |  | 0 | mg/mL
16.878 |  | 0.631 |  |  | 0.26 |  |  |  | 5.3510 |  | 0.7097 |  | 0 | mg/mL
19.053 |  | 0.713 |  |  | 1.25 |  |  |  | 25.361 |  | 3.174 |  | 0 | mg/mL
20.509 |  | 0.767 |  |  | 0.1 |  |  |  | 1.9619 |  | 0.2772 |  | 0 | mg/mL
20.73 |  | 0.775 |  |  | 2.97 |  |  |  | 60.331 |  | 7.721 |  | 0 | mg/mL
22.137 |  | 0.828 |  |  | 0.05 |  |  |  | 0.94703 |  | 0.1176 |  | 0 | mg/mL
22.817 |  | 0.853 |  |  | 0.23 |  |  |  | 4.6183 |  | 0.5308 |  | 0 | mg/mL
23.196 |  | 0.867 |  |  | 0.03 |  |  |  | 0.56852 |  | 0.07334 |  | 0 | mg/mL
26.74 |  | 1.00 |  |  | 0.06 |  |  |  | 1.1482 |  | 0.1292 | R2/R3 | 0.0003252 | mg/mL
26.899 |  | 1.01 |  |  | 0.06 |  |  |  | 1.1555 |  | 0.1339 |  | 0 | mg/mL
28.468 |  | 1.06 |  |  | 0.04 |  |  |  | 0.74252 |  | 0.08964 |  | 0 | mg/mL
28.745 |  | 1.08 |  |  | 0.03 |  |  |  | 0.51264 |  | 0.06629 |  | 0 | mg/mL
29.042 |  | 1.09 |  |  | 0.32 |  |  |  | 6.5213 |  | 0.6168 |  | 0 | mg/mL
29.92 |  | 1.12 |  |  | 0.16 |  |  |  | 3.1668 |  | 0.3152 |  | 0 | mg/mL
| Calibration Update: | [6 empty] | 3/4/2021 5:06:45 AM
| Compound: |  |  | CIPRO
| Signal: |  |  | DAD1D
| Exp. RT: |  |  | 8.071
| Corr. Coeff.: |  |  | 1
| Residual: |  |  | 0
RF RSD%:
| Formula: |  |  | y = ax + b
| a: |  |  | 22245.6383
| b: |  |  | 0
| Compound: |  |  | R2/R3
| Signal: |  |  | DAD1D
| Exp. RT: |  |  | 26.717
| Corr. Coeff.: |  |  | 1
| Residual: |  |  | 0
RF RSD%:
| Formula: |  |  | y = ax + b
| a: |  |  | 3531.3627
| b: |  |  | 0

## Page 37
Data file: |  | C:\Users\Public\Documents\ChemStation\1\Data\EC\EC-21-013-DOE9101112 2021-03-03 21-34-38\EC-21-014-DOE11-R5-T21 09-54-32.D
Sample name: |  | EC-21-014-DOE11-R5-T2
Description:
Sample amount: |  | 0 | Sample type: |  | Sample
Instrument: |  | Arwen | Location: |  | P2-E4
Injection date: |  | 3/4/2021 9:55:19 AM | Injection: |  | 1 of 1
Acq. method: |  | CiproRelSub278.M | Injection volume: |  | 5.000
Analysis method: |  | CiproRelSub278.M | Acq. operator: |  | SYSTEM
Last changed: |  | 2/26/2021 3:26:45 PM
Column name:
Serial #:
Diameter:
| Length: |  |  | # Injections:

## Page 38
| Signal: | [5 empty] | DAD1 D, Sig=278,4 Ref=off
| RT [min] |  | Expected |  |  | Compound |  |  |  | Amount [mg/mL]
| 8.074 |  | 8.071 |  |  | CIPRO |  |  |  | 0.0717040524104064
| 26.733 |  | 26.717 |  |  | R2/R3 |  |  |  | 0.000219987495659001
Signal: | [6 empty] | DAD1 D, Sig=278,4 Ref=off
Peak Retention Time |  | RRT (ISTD) |  |  | Peak Area Percent |  |  |  | Area |  | Height | Compound | Compound Amount | Units
2.385 |  | 0.0892 |  |  | 0.09 |  |  |  | 1.5039 |  | 0.4888 |  | 0 | mg/mL
5.826 |  | 0.218 |  |  | 0.3 |  |  |  | 5.1994 |  | 0.9437 |  | 0 | mg/mL
7.109 |  | 0.266 |  |  | 0.09 |  |  |  | 1.5115 |  | 0.1898 |  | 0 | mg/mL
8.074 |  | 0.302 |  |  | 92.45 |  |  |  | 1595.1 |  | 262.7 | CIPRO | 0.07170 | mg/mL
9.77 |  | 0.365 |  |  | 0.78 |  |  |  | 13.483 |  | 2.109 |  | 0 | mg/mL
14.348 |  | 0.537 |  |  | 0.26 |  |  |  | 4.5021 |  | 0.5209 |  | 0 | mg/mL
15.429 |  | 0.577 |  |  | 1.24 |  |  |  | 21.414 |  | 2.288 |  | 0 | mg/mL
16.889 |  | 0.632 |  |  | 0.14 |  |  |  | 2.4886 |  | 0.2909 |  | 0 | mg/mL
19.055 |  | 0.713 |  |  | 3.47 |  |  |  | 59.813 |  | 7.436 |  | 0 | mg/mL
20.512 |  | 0.767 |  |  | 0.12 |  |  |  | 2.0684 |  | 0.2409 |  | 0 | mg/mL
20.729 |  | 0.775 |  |  | 0.05 |  |  |  | 0.81600 |  | 0.09498 |  | 0 | mg/mL
21.237 |  | 0.794 |  |  | 0.06 |  |  |  | 1.0295 |  | 0.1002 |  | 0 | mg/mL
22.141 |  | 0.828 |  |  | 0.23 |  |  |  | 3.9013 |  | 0.5082 |  | 0 | mg/mL
22.521 |  | 0.842 |  |  | 0.22 |  |  |  | 3.7676 |  | 0.4812 |  | 0 | mg/mL
26.733 |  | 1.00 |  |  | 0.05 |  |  |  | 0.77686 |  | 0.09003 | R2/R3 | 0.0002200 | mg/mL
28.75 |  | 1.08 |  |  | 0.29 |  |  |  | 5.0020 |  | 0.6922 |  | 0 | mg/mL
29.922 |  | 1.12 |  |  | 0.18 |  |  |  | 3.0539 |  | 0.3081 |  | 0 | mg/mL
| Calibration Update: | [6 empty] | 3/4/2021 5:06:45 AM
| Compound: |  |  | CIPRO
| Signal: |  |  | DAD1D
| Exp. RT: |  |  | 8.071
| Corr. Coeff.: |  |  | 1
| Residual: |  |  | 0
RF RSD%:
| Formula: |  |  | y = ax + b
| a: |  |  | 22245.6383
| b: |  |  | 0
| Compound: |  |  | R2/R3
| Signal: |  |  | DAD1D
| Exp. RT: |  |  | 26.717
| Corr. Coeff.: |  |  | 1
| Residual: |  |  | 0
RF RSD%:
| Formula: |  |  | y = ax + b
| a: |  |  | 3531.3627
| b: |  |  | 0

## Page 39
Data file: |  | C:\Users\Public\Documents\ChemStation\1\Data\EC\EC-21-013-DOE9101112 2021-03-03 21-34-38\AVF-21-013-CIP11 10-35-32.D
Sample name: |  | AVF-21-013-CIP1
Description:
Sample amount: |  | 0 | Sample type: |  | Calibration
Instrument: |  | Arwen | Location: |  | P1-A5
Injection date: |  | 3/4/2021 10:36:19 AM | Injection: |  | 1 of 1
Acq. method: |  | CiproRelSub278.M | Injection volume: |  | 5.000
Analysis method: |  | CiproRelSub278.M | Acq. operator: |  | SYSTEM
Last changed: |  | 2/26/2021 3:26:45 PM
Column name:
Serial #:
Diameter:
| Length: |  |  | # Injections:

## Page 40
| Signal: |  |  |  |  | DAD1 D, Sig=278,4 Ref=off
| RT [min] |  | Expected |  | Compound |  |  | Amount [mg/mL]
| 8.068 |  | 8.068 |  | CIPRO |  |  | 0.208
Signal: | [5 empty] | DAD1 D, Sig=278,4 Ref=off
Peak Retention Time |  | RRT (ISTD) |  | Peak Area Percent |  |  | Area |  | Height | Compound | Compound Amount | Units
|  | 0 |  |  |  |  | 0 |  | 0 | R2/R3 | 0 | mg/mL
5.846 |  | 0.725 |  | 0.07 |  |  | 3.2438 |  | 0.5993 |  | 0 | mg/mL
7.115 |  | 0.882 |  | 0.36 |  |  | 16.755 |  | 1.927 |  | 0 | mg/mL
8.068 |  | 1.00 |  | 99.48 |  |  | 4631.0 |  | 745.5 | CIPRO | 0.2080 | mg/mL
14.25 |  | 1.77 |  | 0.02 |  |  | 1.0773 |  | 0.1480 |  | 0 | mg/mL
29.925 |  | 3.71 |  | 0.07 |  |  | 3.0779 |  | 0.3099 |  | 0 | mg/mL

## Page 41
Data file: |  | C:\Users\Public\Documents\ChemStation\1\Data\EC\EC-21-013-DOE9101112 2021-03-03 21-34-38\EC-21-014-DOE11-R5-T41 11-16-36.D
Sample name: |  | EC-21-014-DOE11-R5-T4
Description:
Sample amount: |  | 0 | Sample type: |  | Sample
Instrument: |  | Arwen | Location: |  | P2-E5
Injection date: |  | 3/4/2021 11:17:23 AM | Injection: |  | 1 of 1
Acq. method: |  | CiproRelSub278.M | Injection volume: |  | 5.000
Analysis method: |  | CiproRelSub278.M | Acq. operator: |  | SYSTEM
Last changed: |  | 2/26/2021 3:26:45 PM
Column name:
Serial #:
Diameter:
| Length: |  |  | # Injections:

## Page 42
| Signal: | [5 empty] | DAD1 D, Sig=278,4 Ref=off
| RT [min] |  | Expected |  |  | Compound |  |  |  | Amount [mg/mL]
| 8.076 |  | 8.068 |  |  | CIPRO |  |  |  | 0.079339603248845
| 26.753 |  | 26.717 |  |  | R2/R3 |  |  |  | 0.000242767347066914
Signal: | [6 empty] | DAD1 D, Sig=278,4 Ref=off
Peak Retention Time |  | RRT (ISTD) |  |  | Peak Area Percent |  |  |  | Area |  | Height | Compound | Compound Amount | Units
2.385 |  | 0.0892 |  |  | 0.08 |  |  |  | 1.5008 |  | 0.4918 |  | 0 | mg/mL
5.83 |  | 0.218 |  |  | 0.31 |  |  |  | 5.9504 |  | 1.036 |  | 0 | mg/mL
7.108 |  | 0.266 |  |  | 0.13 |  |  |  | 2.3909 |  | 0.2460 |  | 0 | mg/mL
8.076 |  | 0.302 |  |  | 92.89 |  |  |  | 1766.4 |  | 288.5 | CIPRO | 0.07934 | mg/mL
14.352 |  | 0.536 |  |  | 0.25 |  |  |  | 4.8459 |  | 0.5724 |  | 0 | mg/mL
14.807 |  | 0.553 |  |  | 0.02 |  |  |  | 0.42667 |  | 0.05993 |  | 0 | mg/mL
15.423 |  | 0.576 |  |  | 1.56 |  |  |  | 29.667 |  | 3.144 |  | 0 | mg/mL
16.896 |  | 0.632 |  |  | 0.11 |  |  |  | 1.9967 |  | 0.2418 |  | 0 | mg/mL
19.059 |  | 0.712 |  |  | 3.28 |  |  |  | 62.301 |  | 7.712 |  | 0 | mg/mL
20.514 |  | 0.767 |  |  | 0.12 |  |  |  | 2.2290 |  | 0.2464 |  | 0 | mg/mL
20.735 |  | 0.775 |  |  | 0.08 |  |  |  | 1.6031 |  | 0.1906 |  | 0 | mg/mL
21.244 |  | 0.794 |  |  | 0.06 |  |  |  | 1.2360 |  | 0.1138 |  | 0 | mg/mL
22.144 |  | 0.828 |  |  | 0.23 |  |  |  | 4.4014 |  | 0.5606 |  | 0 | mg/mL
22.526 |  | 0.842 |  |  | 0.38 |  |  |  | 7.1813 |  | 0.9040 |  | 0 | mg/mL
26.753 |  | 1.00 |  |  | 0.05 |  |  |  | 0.85730 |  | 0.09633 | R2/R3 | 0.0002428 | mg/mL
28.481 |  | 1.06 |  |  | 0.02 |  |  |  | 0.39490 |  | 0.05798 |  | 0 | mg/mL
28.755 |  | 1.07 |  |  | 0.25 |  |  |  | 4.8426 |  | 0.6626 |  | 0 | mg/mL
29.93 |  | 1.12 |  |  | 0.18 |  |  |  | 3.3404 |  | 0.3309 |  | 0 | mg/mL
| Calibration Update: | [6 empty] | 3/4/2021 11:16:32 AM
| Compound: |  |  | CIPRO
| Signal: |  |  | DAD1D
| Exp. RT: |  |  | 8.068
| Corr. Coeff.: |  |  | 1
| Residual: |  |  | 0
RF RSD%:
| Formula: |  |  | y = ax + b
| a: |  |  | 22264.2916
| b: |  |  | 0
| Compound: |  |  | R2/R3
| Signal: |  |  | DAD1D
| Exp. RT: |  |  | 26.717
| Corr. Coeff.: |  |  | 1
| Residual: |  |  | 0
RF RSD%:
| Formula: |  |  | y = ax + b
| a: |  |  | 3531.3627
| b: |  |  | 0

## Page 43
Data file: |  | C:\Users\Public\Documents\ChemStation\1\Data\EC\EC-21-013-DOE9101112 2021-03-03 21-34-38\EC-21-014-DOE11-R5-T61 11-57-37.D
Sample name: |  | EC-21-014-DOE11-R5-T6
Description:
Sample amount: |  | 0 | Sample type: |  | Sample
Instrument: |  | Arwen | Location: |  | P2-E6
Injection date: |  | 3/4/2021 11:58:24 AM | Injection: |  | 1 of 1
Acq. method: |  | CiproRelSub278.M | Injection volume: |  | 5.000
Analysis method: |  | CiproRelSub278.M | Acq. operator: |  | SYSTEM
Last changed: |  | 2/26/2021 3:26:45 PM
Column name:
Serial #:
Diameter:
| Length: |  |  | # Injections:

## Page 44
| Signal: | [5 empty] | DAD1 D, Sig=278,4 Ref=off
| RT [min] |  | Expected |  |  | Compound |  |  |  | Amount [mg/mL]
| 8.072 |  | 8.068 |  |  | CIPRO |  |  |  | 0.0778322377605271
| 26.743 |  | 26.717 |  |  | R2/R3 |  |  |  | 0.00023457065143667
Signal: | [6 empty] | DAD1 D, Sig=278,4 Ref=off
Peak Retention Time |  | RRT (ISTD) |  |  | Peak Area Percent |  |  |  | Area |  | Height | Compound | Compound Amount | Units
2.386 |  | 0.0892 |  |  | 0.08 |  |  |  | 1.4634 |  | 0.4864 |  | 0 | mg/mL
5.827 |  | 0.218 |  |  | 0.3 |  |  |  | 5.6941 |  | 1.021 |  | 0 | mg/mL
7.108 |  | 0.266 |  |  | 0.1 |  |  |  | 1.9508 |  | 0.2379 |  | 0 | mg/mL
8.072 |  | 0.302 |  |  | 92.28 |  |  |  | 1732.9 |  | 284.9 | CIPRO | 0.07783 | mg/mL
8.616 |  | 0.322 |  |  | 0.06 |  |  |  | 1.2056 |  | 0.09436 |  | 0 | mg/mL
9.771 |  | 0.365 |  |  | 0.3 |  |  |  | 5.6453 |  | 0.9355 |  | 0 | mg/mL
14.348 |  | 0.537 |  |  | 0.28 |  |  |  | 5.2114 |  | 0.5702 |  | 0 | mg/mL
15.413 |  | 0.576 |  |  | 1.79 |  |  |  | 33.652 |  | 3.669 |  | 0 | mg/mL
16.897 |  | 0.632 |  |  | 0.11 |  |  |  | 1.9887 |  | 0.2349 |  | 0 | mg/mL
19.056 |  | 0.713 |  |  | 3.11 |  |  |  | 58.488 |  | 7.261 |  | 0 | mg/mL
20.511 |  | 0.767 |  |  | 0.1 |  |  |  | 1.9513 |  | 0.2207 |  | 0 | mg/mL
20.734 |  | 0.775 |  |  | 0.21 |  |  |  | 4.0057 |  | 0.5059 |  | 0 | mg/mL
21.241 |  | 0.794 |  |  | 0.06 |  |  |  | 1.1934 |  | 0.1115 |  | 0 | mg/mL
22.143 |  | 0.828 |  |  | 0.23 |  |  |  | 4.3486 |  | 0.5597 |  | 0 | mg/mL
22.522 |  | 0.842 |  |  | 0.49 |  |  |  | 9.2275 |  | 1.186 |  | 0 | mg/mL
26.743 |  | 1.00 |  |  | 0.04 |  |  |  | 0.82835 |  | 0.09561 | R2/R3 | 0.0002346 | mg/mL
28.749 |  | 1.08 |  |  | 0.26 |  |  |  | 4.7956 |  | 0.6603 |  | 0 | mg/mL
29.923 |  | 1.12 |  |  | 0.18 |  |  |  | 3.3138 |  | 0.3246 |  | 0 | mg/mL
| Calibration Update: | [6 empty] | 3/4/2021 11:16:32 AM
| Compound: |  |  | CIPRO
| Signal: |  |  | DAD1D
| Exp. RT: |  |  | 8.068
| Corr. Coeff.: |  |  | 1
| Residual: |  |  | 0
RF RSD%:
| Formula: |  |  | y = ax + b
| a: |  |  | 22264.2916
| b: |  |  | 0
| Compound: |  |  | R2/R3
| Signal: |  |  | DAD1D
| Exp. RT: |  |  | 26.717
| Corr. Coeff.: |  |  | 1
| Residual: |  |  | 0
RF RSD%:
| Formula: |  |  | y = ax + b
| a: |  |  | 3531.3627
| b: |  |  | 0

## Page 45
Data file: |  | C:\Users\Public\Documents\ChemStation\1\Data\EC\EC-21-013-DOE9101112 2021-03-03 21-34-38\EC-21-014-DOE12-R4-T51 12-38-38.D
Sample name: |  | EC-21-014-DOE12-R4-T5
Description:
Sample amount: |  | 0 | Sample type: |  | Sample
Instrument: |  | Arwen | Location: |  | P2-F1
Injection date: |  | 3/4/2021 12:39:27 PM | Injection: |  | 1 of 1
Acq. method: |  | CiproRelSub278.M | Injection volume: |  | 5.000
Analysis method: |  | CiproRelSub278.M | Acq. operator: |  | SYSTEM
Last changed: |  | 2/26/2021 3:26:45 PM
Column name:
Serial #:
Diameter:
| Length: |  |  | # Injections:

## Page 46
| Signal: | [5 empty] | DAD1 D, Sig=278,4 Ref=off
| RT [min] |  | Expected |  |  | Compound |  |  |  | Amount [mg/mL]
| 8.078 |  | 8.068 |  |  | CIPRO |  |  |  | 0.00154906806107229
| 26.739 |  | 26.717 |  |  | R2/R3 |  |  |  | 0.000746400480181492
Signal: | [6 empty] | DAD1 D, Sig=278,4 Ref=off
Peak Retention Time |  | RRT (ISTD) |  |  | Peak Area Percent |  |  |  | Area |  | Height | Compound | Compound Amount | Units
2.386 |  | 0.0892 |  |  | 0.22 |  |  |  | 1.5214 |  | 0.4892 |  | 0 | mg/mL
5.681 |  | 0.212 |  |  | 0.05 |  |  |  | 0.36846 |  | 0.07165 |  | 0 | mg/mL
5.823 |  | 0.218 |  |  | 0.18 |  |  |  | 1.2713 |  | 0.2282 |  | 0 | mg/mL
6.152 |  | 0.230 |  |  | 0.06 |  |  |  | 0.40350 |  | 0.06612 |  | 0 | mg/mL
8.078 |  | 0.302 |  |  | 4.88 |  |  |  | 34.489 |  | 5.582 | CIPRO | 0.001549 | mg/mL
9.77 |  | 0.365 |  |  | 26.91 |  |  |  | 190.34 |  | 30.42 |  | 0 | mg/mL
11.701 |  | 0.438 |  |  | 0.05 |  |  |  | 0.35848 |  | 0.05189 |  | 0 | mg/mL
14.344 |  | 0.536 |  |  | 1.28 |  |  |  | 9.0507 |  | 1.101 |  | 0 | mg/mL
14.804 |  | 0.554 |  |  | 0.12 |  |  |  | 0.85752 |  | 0.1267 |  | 0 | mg/mL
15.426 |  | 0.577 |  |  | 0.78 |  |  |  | 5.4997 |  | 0.6377 |  | 0 | mg/mL
16.88 |  | 0.631 |  |  | 1.64 |  |  |  | 11.616 |  | 1.420 |  | 0 | mg/mL
19.052 |  | 0.713 |  |  | 20.96 |  |  |  | 148.28 |  | 18.61 |  | 0 | mg/mL
19.448 |  | 0.727 |  |  | 0.06 |  |  |  | 0.44664 |  | 0.06673 |  | 0 | mg/mL
20.51 |  | 0.767 |  |  | 1.38 |  |  |  | 9.7803 |  | 1.389 |  | 0 | mg/mL
20.732 |  | 0.775 |  |  | 39.03 |  |  |  | 276.12 |  | 35.38 |  | 0 | mg/mL
22.81 |  | 0.853 |  |  | 0.97 |  |  |  | 6.8549 |  | 0.4501 |  | 0 | mg/mL
23.169 |  | 0.866 |  |  | 0.15 |  |  |  | 1.0608 |  | 0.1312 |  | 0 | mg/mL
23.381 |  | 0.874 |  |  | 0.19 |  |  |  | 1.3649 |  | 0.1643 |  | 0 | mg/mL
26.186 |  | 0.979 |  |  | 0.06 |  |  |  | 0.39989 |  | 0.06063 |  | 0 | mg/mL
26.739 |  | 1.00 |  |  | 0.37 |  |  |  | 2.6358 |  | 0.2196 | R2/R3 | 0.0007464 | mg/mL
28.481 |  | 1.07 |  |  | 0.18 |  |  |  | 1.2795 |  | 0.1496 |  | 0 | mg/mL
29.922 |  | 1.12 |  |  | 0.48 |  |  |  | 3.4286 |  | 0.3274 |  | 0 | mg/mL
| Calibration Update: | [6 empty] | 3/4/2021 11:16:32 AM
| Compound: |  |  | CIPRO
| Signal: |  |  | DAD1D
| Exp. RT: |  |  | 8.068
| Corr. Coeff.: |  |  | 1
| Residual: |  |  | 0
RF RSD%:
| Formula: |  |  | y = ax + b
| a: |  |  | 22264.2916
| b: |  |  | 0
| Compound: |  |  | R2/R3
| Signal: |  |  | DAD1D
| Exp. RT: |  |  | 26.717
| Corr. Coeff.: |  |  | 1
| Residual: |  |  | 0
RF RSD%:
| Formula: |  |  | y = ax + b
| a: |  |  | 3531.3627
| b: |  |  | 0